| Permit Number: | PAN-004721 |
| --- | --- |
| Applicant name: | Mr Kenneth Wiltshire |
| Site Address: | Sunnybank, Rhydyhwin, Cardigan, SA43 3NH |
| Discharge Point NGR: | SN 18065 44002 |
| Respond by date: | 21/03/2019 (10 working days) |
| Permitting Officer: | Elliot Burge |

Brief Description of proposal:

The application is for a new discharge to surface water of 1.5 cubic metres per day of secondary treated sewage effluent, the system will serve a single domestic property. The treatment comprises of a package treatment plant built to British Standards. The discharge is directly into the Afon Piliau which reaches the Afon Teifi after approximately 2.5km.

Habitats Screening Report – Designations or protected species/habitats:

The risk screening report can be found on the DMS here.

There is a SSSI and SAC within 500m of the proposal, I will undertake the relevant assessments and consult on them separately.

Risk Assessment Results (modelling or L1 Risk Assessment):

The discharge is under 5m3/day therefore no water quality modelling has been undertaken.

Miscellaneous:

There is no option to connect to the foul sewer, the nearest connection point is >950m.

I am consulting with both NRM Pembrokeshire and Ceredigion as the proposal lies on the boundary of the teams.

NRM Responses:

Environment Management comments:

No adverse comments from a water quality perspective

Officers name: Rod Thomas
Date:11 March 2019

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

Please send the HRA for the SAC to me for consultation, as NRW’s lead conservation officer for the Afon Teifi SAC.  I am in full agreement with the conclusions of your Appendix 4 assessment.

Officers name:  Jon Turner, Senior Conservation Officer, Ceredigion NRM Team
Date:  21/03/2019

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | N |
| Environmental Heath | N |

Any Permitting Responses:

Date: