## Sheet1
Point Number | Information Required | Response
1 | Confirm whether or not you currently comply with the requirements of the BAT Conclusion, including any associated emission levels, providing a description of the techniques in place and how they meet the standard. | We can confirm that we comply with the requirements of the BAT Conclusion. Our techniques for the treatment of liquid waste include 1. Biological treatment by means of a Venturi Aeration System activated sludge process 2. Oil & water separation and sedimentation, incorporating tilt plate separator for oils recovery, for onward treatment Our emission levels are set and monitored by Welsh Water, who provide us with consent to discharge. We also carry out internal testing of incoming wastes and discharges to sewer; daily for every batch discharge and then weekly with results recorded. We are also externally tested on a monthly basis by Welsh Water. We also incorporate a set of pre-acceptance procedures and we are MCERTS certified, which involves observation of our continuous flow measurement. A sample of recent discharge results can be provided upon request, where required. Our site is managed by a ‘WAMITAB Level 4 – Transfer & Treatment of Hazardous and Non Hazardous Waste’ holder. All Haz 9 packaged wastes are stored in UN approved containers and on impermeable surfaces for bulking, prior to transfer. All waste stream movements are logged on a waste tracking system.
2 | If you do not comply with the BAT conclusion, describe how and by when you intend to meet the standard, before the 17th August 2022, being the date which, hereafter in this Notice, is referred to as the ‘compliance date’. | N/A
3 | Confirm if you intend to continue operating in a manner which would not comply with the relevant new BAT Conclusion, after the compliance date, what your justification for being allowed to do so is, and by what date you intend to come into full compliance, or a description of alternative measures to be adopted that will provide equivalent environmental protection. | N/A
4 | Where the BAT conclusion has a BAT Associated Emission Level (BAT-AEL) specified, with which you will not comply by the compliance date you should consider requesting a derogation. To do this you must provide sufficient technical and commercial information to demonstrate that achieving that BAT-AEL would lead to costs that are disproportionately high, compared with environmental benefits due to one or more of: i. the geographical location of your installation; ii. the local environmental conditions around your installation; iii. the technical characteristics of your installation. No other justification for a derogation can be considered. | N/A
5 | Please provide a current OPRA profile, upon which your variation fee, if applicable will be based. The OPRA spreadsheet is availabe on our website at the following link: https://naturalresources.wales/about-us/what-we-do/how-we-regulate-you/our-charges/?lang=en
6 | Where your activity involves the use, production or release of relevant hazardous substances (as defined in Article 3(18) of the Industrial Emissions Directive) carry out a risk assessment considering the possibility of soil and groundwater contamination at the installation with these substances. Where any risk of such contamination is established either: • Prepare and submit a baseline report containing information necessary to determine the current state of soil and groundwater contamination; or • Provide a summary report referring to information previously submitted where you are satisfied that such information represents the current state of soil and groundwater contamination; so as to enable a quantified comparison to be made with the state of soil and groundwater contamination upon definitive cessation of activity. Where you have concluded that there are no risks of soil or groundwater contamination, provide a copy of the risk assessment. | We can confirm that there are no risks of soil or groundwater contamination. Our waste is contained primarily within storage / treatment tanks, within secondary bunded containment. We have a sealed drainage system with a three stage interceptor. Please see Risk Assessment (to follow).
7 | For all discharges to surface waters and/or sewer from the site, you must provide information for priority hazardous substances and any other relevant substances. The emissions monitoring for these substances should be carried out using the methods and standards described in the M18 guidance on “Monitoring of discharges to water and sewer”. With reference to the risk assessment guidance on the gov.uk website entitled “Surface water pollution risk assessment for your environmental permit“ (accessible via this link: https://www.gov.uk/guidance/surface-water-pollution-risk-assessment-for-your-environmental-permit) carry out the following assessments: • Screening tests for priority hazardous pollutants and any other relevant priority hazardous substances. • For any substance which is not screened out by the screening tests you will need to carry out modelling, as described in the risk assessment guidance “Surface water pollution risk assessment for your environmental permit”. You must provide us with the results from the emissions monitoring, the results from the screening tests and the results from any modelling. You can use the H1 electronic screening tool to present the emissions data and to carry out the screening tests. We will provide a copy of the tool to your local representative at the site address. With regard to the screening a full list of relevant substances is provided on the “Surface water pollution risk assessment for your environmental permit” pages of the gov.uk website. You should review the list and carry out the screening for any hazardous pollutants. With regard to screening for priority hazardous pollutants, a full list of relevant priority hazardous substances and their associated annual significant loads is given on the “Surface water pollution risk assessment for your environmental permit” pages of the gov.uk website. | We do not carry out direct discharge to surface water. We discharge to sewer only as per our Welsh Water consents to discharge and the limits within. As stated above, we carry out both internal testing on a daily and weekly basis. We are also externally tested and monitored by Welsh Water and can provide recent sample results upon request.