Permit Reference Number: SP3531SK						Operator: Tradebe Ltd

Installation: Gwent Waste Management Centre					Form Number: S1

# Reporting of Emissions to Sewer for the period from …………01/010/2019…………….to………31/12/2019……………

| Emission Point | Substance / Parameter | Emission # Limit Value | Result [1] |  | Test Method [2] | Sample Date and Times [3] | Accreditation/Certification [4] | Uncertainty [5] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S1 | Ammonia un-ionised as N [6] | N/a | 4.269 | mg/L | 2:550 using Aquachem 600 | 01 Oct 19 14:45hrs | UKAS | +/- 3% |
| S1 | Cyanide | N/a | 0.177 | mg/L | 2:412 using SEAL AA3 | 24 Oct 19 14:30hrs | UKAS | +/- 3% |
| S1 | Suspended solids | N/a | 331 | mg/L | 2:724 using gravimetry | 30 Oct 19 14:00hrs | UKAS | +/- 1% |
| S1 | Flow | N/a | 26.3 | M3/hr | Mag Flow | 01 Oct 19 08:45hrs | MCERTS | +/- 2% |
| S1 | Lead & its compounds (Total Pb) | N/a | 0.2 | mg/L | 2:311 using ICP-MS | 24 Oct 19 14:30hrs | UKAS | +/- 5% |
| S1 | Nickel & its compounds (Total Ni) | N/a | 0.9 | mg/L | 2:311 using ICP-MS | 21 Oct 19 14:15hrs | UKAS | +/- 5% |
| S1 | Zinc & its compounds (Total Zn) | N/a | 1.3 | mg/L | 2:311 using ICP-MS | 09 Dec 19 14:15hrs | UKAS | +/- 5% |
| S1 | Chromium & its compounds (Total Cr) | N/a | 0.1 | mg/L | 2:311 using ICP-MS | 09 Dec 19 14:15hrs | UKAS | +/- 5% |
| S1 | Copper & its compounds (Total Cu) | N/a | 1.0 | mg/L | 2:311 using ICP-MS | 21 Oct 19 14:15hrs | UKAS | +/- 5% |
| S1 | pH | N/a | 7.40 9.80 | pH units | 2:721 using meter | 30 Oct 19 14:00hrs 15 Nov 19 11:00hrs | UKAS | +/- 0.5 |

[1] 	The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] 	Where a reference number is given this refers to Wessex Water UKAS accredited lab (0905) documented in-house methods to meet the requirements of the Environment Agency MCERTS Performance Standard – sampling and chemical testing of untreated sewage, sewage effluent and trade effluent and the instrument used. In other cases the principal technique is stated, e.g. colorimetry.

[3] 	For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements, or flow/time proportional samples, the percentage of the process operating time covered by the monitoring is given.

[4] 	The accreditation status of the equipment and/or the monitoring organisation, as appropriate, for the methods used for both sampling and analysis.

[5] 	The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated

[6] 	‘Ammonia un-ionised as N’ calculated using Ammonia Calculator located on https://www.svl.net/2016/01/unionized-amonia-calculator/ using Total Ammonia = 156mg/L, pH = 7.8 and Temperature = 21.6oC.

Signed ……     A Morris           ……Alex Morris…………………………….  		Date…………16/01/20……………..

(Authorised to sign as representative of the Operator)