NRW Transitional Water Resources Licence Application for Gwent IDD

Sandy Lane Pumping Station - Supporting info – 2016 meeting notes and  schematic

Notes from site visit 9th February 2016 – John Southall, Owain Sheppard, Martin Clarke

Sandy Lane pump

  - Pump capacity not available at time of visit

  - Typically used to top up Pont-y-Cwcw flows during low flow conditions. Once switched on, normally left on for the rest of the summer season.

  - Does not pump continuously, only when sump fed by River Ebbw via gravity is full and once water pumped out, pump switches off until sump re-filled.

Schematic to show Flow Paths associated with the River Ebbw and the Newport Dock Feeder Channel

Key:

Open Channel

Culvert

BASSALEG WEIR

Direction of Flow

Bassaleg Weir

Overflow

Spillway

N				R

E				I

W				V

P				E

O				R

R

T

D

O

C

Tredegar House Lake		K				E

B

B

W

F

E

E

D

E

R

C

H

A

N

N

E

L

Pont-y-cwcw Reen	                 	Overflow

(Caldicot and Wentlooge

Levels)

Sandy Lane Pumping Station

The Docks                            Usk / Severn Estuary