| Permit Number: | NRWWIA180 |
| --- | --- |
| Applicant name: | Dwr Cymru |
| Site Address: | Llyn Anafon, Abergwyngregyn |
| Discharge Point NGR: | SH 69940 69933 |
| Respond by date: | 09/02/2020 (10 working days) |
| Permitting Officer: | Gareth Bruce |

Brief Description of proposal:

WIA (b)

Impounding reservoir discharge

5-10 year duration

See application for details

Habitats Screening Report – Designations or protected species/habitats:

Screening report

The Discharge is into the River Anafon, which joins the Afon Aber before finally flowing into the Traeth Lafan.

This passes through 3 SSSIs

COEDYDD ABER & ERYRI for which none of the designations relate to the River Anafon or Afon Aber

&

TRAETH LAFAN, approximately 7KM downstream

COEDYDD ABER & ERYRI are also SACs, but again no river designations (aquatic protections refer to lakes)

TRAETH LAFAN is also SPA/SAC

Do you think we need to do an Appendix 4 (SSSI) and Form 1 HRA for TRAETH LAFAN?

The DCWW risk assessment and application form suggests that there will be no negative effects (low volumes and less sediment that current arrangement)

Risk Assessment Results (modelling or L1 Risk Assessment):

Miscellaneous:

NRM Responses:

Environment Management comments:

I don’t have an objection to the proposal at present, however, should any scouring become evident downstream of the discharge then the discharger will need to review the discharge rate accordingly.

Officers name: Euryn Roberts, Senior Officer
Date: 30th January 2020

Biodiversity comments:

Put N/A if no consultation required

Officers name:
Date:

Fisheries comments:

Put N/A if no consultation required

Officers name:
Date:

Conservation/Ecology Comments:

Put N/A if no consultation required

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

Put N/A if no consultation required

Officers name:

Date:

Geoscience Response:

Put N/A if no consultation required

Officers name:
Date:

Flood Risk Management:

Put N/A if no consultation required

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | Y |
| Water Company regarding Drinking Water Protected Zone / SPZ1 |  |
| Environmental Heath |  |

Any Permitting Responses:

Date: