| Permit Number: | WRWWIA181 |
| --- | --- |
| Applicant name: | DWR CYMRU |
| Site Address: | Llwyn on Water Treatment Works, Cefn Road, Merthyr Tydfill, CF482HS |
| Discharge Point NGR: | SN9511601550 |
| Respond by date: | 31/01/2020 (3 working days) |
| Permitting Officer: | Gareth Bruce |

Brief Description of proposal:

A discharge to draw down Luest Wen by a meter below top water level to enable DCWW carry out surveys for essential maintenance to the spillway.

Habitats Screening Report – Designations or protected species/habitats:

No Hydrologically connected designated sites

If you have any concerns regarding this discharge can you get back to me as soon as possible.

Risk Assessment Results (modelling or L1 Risk Assessment):

Miscellaneous:

NRM Responses:

Environment Management comments:

No concerns.  Please ensure that DCWW inform downstream water users of increased flow when discharge in operation. If silt enters watercourse as a result of discharge, operation should cease until mitigation put in place.

Officers name: Natalie Wrangham
Date: 04/02/2020

Biodiversity comments:

Put N/A if no consultation required

Officers name:
Date:

Fisheries comments:

Put N/A if no consultation required

Officers name:
Date:

Conservation/Ecology Comments:

Put N/A if no consultation required

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

Put N/A if no consultation required

Officers name:

Date:

Geoscience Response:

Put N/A if no consultation required

Officers name:
Date:

Flood Risk Management:

Put N/A if no consultation required

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks |  |
| Water Company regarding Drinking Water Protected Zone / SPZ1 |  |
| Environmental Heath |  |

Any Permitting Responses:

Date: