	Document no:   EMF 005 
	Environmental Management Systems
	Issue no: 1
	Page 1 of 2

	Issue date  07/03/19
	Issued by:  Technical & QA Department

	Link documents: 

	Reason for amendment:  New reporting form
	Authorised by:


[image: image1.png]




	RADNOR HILLS MINERAL WATER COMPANY

ENVIRONMENTAL MANAGEMENT SYSTEMS

 EMF 005 – NRW SCHEDULE 5 REPORTING FORM




Schedule 5 - Notification
These pages outline the information that the operator must provide.

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.
Part A

	Permit Number
	EPR / AB3697CN

	Name of operator
	Radnor Hills Mineral Water Company Ltd

	Location of Facility
	Radnor Hills, Heartsease, Knighton, Powys, LD7 1LU

	Time and date of the detection
	Detection Reported –22/01/20


	(a) Notification requirements for any activity that gives rise to an incident or accident which

significantly affects or may significantly affect the environment

	To be notified Immediately

	Date and time of the event
	

	Reference or description of the

location of the event
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released
	

	Best estimate of the quantity or rate of release of substances
	

	Measures taken, or intended to

be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a permit condition

	To be notified immediately

	Emission point reference/ source
	W1 – Treated effluent discharge

	Parameter(s)
	BOD

	Limit
	5.00mg/l

	Measured value and uncertainty
	9.39mg/l

	Date and time of monitoring
	Sample obtained 09:00 7th January. Result reported and received 14th January

	Measures taken, or intended to

be taken, to stop the emission
	Action 1:

Enquired with the lab to ensure the concentration level of the sample is a true result as continued previous samples have had the level be <1mg/l.

Action 2: 
Resample taken 14/01/20 and sent for external BOD analysis as routine and pending results will be reviewed to ensure the breach has not continued and now stopped.

Action 3:
Resample taken 14/01/20 BOD conducted internally analysis completed 19/01/20 result 2.1mg/l

	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	


	(c) In the event of a breach of permit condition which poses an immediate danger to human health

or threatens to cause an immediate significant adverse effect on the environment:

	To be notified immediately

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances

detected
	

	Date of monitoring/sampling
	


Part B - to be submitted as soon as practicable

	Any more accurate information on the matters for notification under Part A.
	BOD breach on 07/01/2020 9.39mg/l

Internal analysis test result taken 14/01/2020 completed 19/01/20 back in permit level 2.1mg/l.


External analysis test result from 14/01/2020 back in permit level at 1.77mg/l

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	Lab confirmed that the test results were valid. We have sent our contractor (Aquabio) the recent results for review as we are unable to explain the results, no other parameters were out of specification or outside of their normal operating range.

	Measures taken, or intended to be taken, to rectify,

limit or prevent any pollution of the environment which has been or may be caused by the emission
	No discharge to river at present.

Internal BOD test kit used to conduct analysis and have result sooner. Concentration level returned to permit level.

Unexplained increase of COD concentration level of the wastewater peaked to a loading of 9000mg/l. Investigation was conducted to determine the cause. Yields and efficiency of production lines was normal, mass balance of raw materials volumes was normal. No reports of additional loading to the holding tanks was reported, investigation concluded normal production operation.

All management informed of the issue and reiterated the importance of reporting all unauthorised discharge to wastewater holding tanks. 


	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	26/02/19
24/07/19

12/11/19


	Name*
	[image: image2.png]RADNOR
HILLS



R Isaac

	Post
	Technical & Quality Manager

	Signature
	

	Date
	22/01/220


* authorised to sign on behalf of the operator

