# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Fforchonllwyn Farm operated by Mr Rhodri Huw Jones and Mrs Lisa Joanne Jones.

The application number is PAN-007308

The permit number is EPR/BB3593NV

The permit regulates the discharge of organophosphate sheep dip, diluted to a ratio of 1 part dip to 3 parts water/slurry and discharged to ground via a vacuum tanker. The maximum daily loading of diluted dip shall not exceed 2.6m3/day . The disposal will take place twice a year across two discharge locations.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  |
| ### Responses to consultation, web publicising | The web publicising, responses (Annex 2) were taken into account in the decision. The decision was taken in accordance with our guidance. No Responses received |  |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the CRoW Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . Rhos Hen-Glyn-Isaf SSSI is located within 1,000m of the proposed sheep dip disposal areas. The Afon Giedd forms a physical barrier between the disposal sites and the SSSI. In addition, the SSSI is on an elevated position approximately 70m above the Afon Giedd at its nearest point. There is no hydrological connection between the special sites and the discharge area, as the natural flow of the Afon Giedd is well below the SSSI. Consequently there is little likelihood of any contamination or impact. The local environment team agreed with this assessment of the application. We have not formally consulted on the application. The decision was taken in accordance with our guidance. |  |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. |  |
| Operators Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |