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Part A 
	Permit Number
	PP3139GB

	Name of Operator
	Enovert (North) Limited

	Location of Installation
	Bangor Road
Johnstown
Wrexham
LL14 6ET

	Time and date of the detection
	12/07/2019



	b) Notification requirements for breach of a limit

	To be notified within 24 hours of detection unless otherwise specified

	Emission point reference/source
	HAF SW1a
Ammoniacal N 
1.8mg/l
2.9mg/l
03/07/2019

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	Surface Water Monitoring Point (SW2) will continue to be monitored monthly, in accordance with Environmental Permit PP3139GB.  


Part B
	Any more accurate information on the matters for notification under Part A.
	After reviewing the Ammoniacal N concentration data since 2015 for SW1a this result seems anomalous.
The last compliance breach for this parameter in SW1a occurred in October 2017 (5.4mg/l). Since October 2017, the concentration of Ammoniacal N hasn’t exceeded the compliance limit, or the concentration has been less the laboratory’s lower detectable limit.


	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	Ammoniacal N concentrations will be continually monitored monthly and subsequent results reviewed to determine the trends in the Ammoniacal N concentration in surface water monitoring point SW1a.


	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment or harm which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the installation in the preceding 24 months.
	SC5 HAF242 – June 2019
SC5 HAF239 – May 2019
SC5 HAF234 - March 2019 




	Name*
	Chris Ridgway

	Post
	Environmental Data Analyst

	Date
	24/07/2019


* authorised to sign on behalf of Enovert (North) Ltd





































