# Schedule 5- Notification

Part A

| Permit Number | PP3139GB |
| --- | --- |
| Name of Operator | Enovert (North) Limited |
| Location of Installation | Bangor Road Johnstown Wrexham LL14 6ET |
| Time and date of the detection | 12/07/2019 |

| b) Notification requirements for breach of a limit |  |
| --- | --- |
| To be notified within 24 hours of detection unless otherwise specified |  |
| Emission point reference/source | HAF SW1a Ammoniacal N 1.8mg/l 2.9mg/l 03/07/2019 |
| Parameter(s) |  |
| Limit |  |
| Measured value and uncertainty |  |
| Date and time of monitoring |  |
| Measures taken, or intended to be taken, to stop the emission | Surface Water Monitoring Point (SW2) will continue to be monitored monthly, in accordance with Environmental Permit PP3139GB. |

Part B

| Any more accurate information on the matters for notification under Part A. | After reviewing the Ammoniacal N concentration data since 2015 for SW1a this result seems anomalous. The last compliance breach for this parameter in SW1a occurred in October 2017 (5.4mg/l). Since October 2017, the concentration of Ammoniacal N hasn’t exceeded the compliance limit, or the concentration has been less the laboratory’s lower detectable limit. |
| --- | --- |
| Measures taken, or intended to be taken, to prevent a recurrence of the incident | Ammoniacal N concentrations will be continually monitored monthly and subsequent results reviewed to determine the trends in the Ammoniacal N concentration in surface water monitoring point SW1a. |
| Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment or harm which has been or may be caused by the emission |  |
| The dates of any unauthorised emissions from the installation in the preceding 24 months. | SC5 HAF242 – June 2019 SC5 HAF239 – May 2019 SC5 HAF234 - March 2019 |

| Name* | Chris Ridgway |
| --- | --- |
| Post | Environmental Data Analyst |
| Date | 24/07/2019 |

* authorised to sign on behalf of Enovert (North) Ltd