| Permit Number: Facility: | EPR/BJ9703IM Flint Paper Mill | Operator: Form Number: | Kimberly Clarke Ltd Performance1 / 30/09/18 |
| --- | --- | --- | --- |

Reporting of other performance indicators for the period 01/01/2019 to 31/12/2019 (annually)

| Parameter Water | Units Total m3/p.a | m3/t | Methodology Measured or Calculated |
| --- | --- | --- | --- |
| Water Inputs to the Mill 3 |  |  |  |
| Surface water (actual not licensed) eg: river water | NA |  |  |
| Groundwater (actual not licensed) eg: borehole water | NA |  |  |
| Mains water (only report if used in the paper or pulp manufacturing process) | 391,905 | 14.2 m3 / t | Measured |
| Other water (eg; if rainwater harvesting is practised) | 0 |  |  |
| Water used in manufacturing 3 |  |  |  |
| Cooling water (once through or hybrid systems) | NA |  |  |
| Process water | As above 391,905 | 14.2 m3 / t | Measured |
| Other water used in manufacturing | 0 |  |  |
| Other inputs of water/moisture |  |  |  |
| Pulp or other fibre or wood at X% moisture content2 | NA |  |  |
| Waste paper for recycling at 10% moisture content2 | 3864.4 m3 | 0.14 m3/ t | Calculated |
| Water outputs 3 | - |  |  |
| Waste Water discharged to surface waters NB; this figure should be the one used to report water usage per tonne as per BREF benchmarks under BATC No.5 and should exclude site drainage and cooling water | 346,867 m3 | 12.6 m3/t | Measured |
| Waste water discharged to sewer | 0 |  |  |
| Losses to evaporation | 8221.8 m3 | 0.3 m3/t | Measured |
| Losses in final product at 6% moisture content2 | 1644.3 m3 | 0.06 m3/t | Measured |
| Losses in major waste stream outputs at 55% moisture content such as sludge2 | 13,465 m3 | 0.55 m3/t | Measured |
| Losses in major waste stream outputs at 50% moisture content such as rejects (EWC 03 03 07)2 | 1531.8m3 | 0.5 m3/t | Measured |

| Parameter Waste | Units Total tonnes/p.a | Measured or Calculated |
| --- | --- | --- |
| Waste/raw material Inputs (other than those reported via quarterly waste returns) |  |  |
| Pulp | NA |  |
| Starch & main fillers | NA |  |
| Other significant raw material inputs if >1000 tonnes | NA |  |
| Waste/raw material outputs (other than those reported via quarterly waste returns) | Via waste returns |  |
| Production (Net annual production reported as total as defined in the BREF BATCs1) | 27,406 t | measured |

Notes:

1. (i) For paper mills: the unpacked, saleable production after the last slitter winder, i.e. before converting. (ii) For off-line coaters: production after coating. (iii) For tissue mills: saleable production after the tissue machine before any rewinding processes and excluding any core. (iv) for market pulp mills: production after packing (ADt). (v) For integrated mills: Net pulp, production refers to the production after packing (ADt) plus the pulp transferred to the paper mill (pulp calculated at 90 % dryness, i.e. air dry). Net paper production: same as (i)

2. X% & Y% moisture content. Is defined as the average moisture content over the 12 month period. Monitoring frequency and test method (in the absence of any EN standard test method) determined by each mill but to be noted on the return for each input/output.

3. All parameters in bold text are required to be reported on, others are optional.

Operator’s comments:

Signed ………Jan Partridge…………………………………………………….                          Date……28.1.2020…………………..

(Authorised to sign as representative of Operator)