## Sheet1
2019-10-01
| Analytical Data | [6 empty] | Discharge Data
Date | UF Permeate | [6 empty] | UF Permeate mᵌ | RO Permeate mᵌ | Tankered m3 | PARAMETERS | REPORTING LIMITS
| pH | Temp. | COD Total | Ammonia NH3-N | SRP as P | Suspended Solids | BOD |  |  |  | UF + RO PERMEATE DISCHARGE
| pH | °C | mg/l | mg/l | mg/l | mg/l | mg/l |  |  |  | COD | <100mg/l
1 | 6.91 | 22.2 | 39.5 | 0 | 0 | 0 | 1.15 | 158.3 | 80.2 | 0 | BOD | <5.0mg/l
2 | 7.39 | 20.7 | 19.4 | 0 | 0 | 0 |  | 163.8 | 75.9 | 0 | Ammonia | <0.50mg/l
3 | 7.43 | 20.6 | 15.6 | 0 | 0 | 0 |  | 127.4 | 63.1 | 0 | Orthophosphate (mg/l) PO3− 4-P | <0.2mg/l
4 | 7.41 | 20.9 | 11.8 | 0 | 0 | 0 |  | 141.3 | 21.7 | 0 | TSS | <5.00mg/l
5 | 7.25 | 21.5 | 25.8 | 0 | 0 | 0 |  | 175 | 64.1 | 0 | Temperature | <25°C
6 | 7.6 | 21.8 | 29.3 | 0.02 | 0.01 | 0 |  | 134.7 | 64.7 | 0 | pH | 6pH - 9pH
7 | 7.78 | 21.4 | 27.8 | 0.01 | 0.061 | 0 |  | 148.2 | 32.6 | 0
8 | 7.1 | 21.3 | 41.1 | 0.01 | 0.02 | 0 | 1 | 160.5 | 58.4 | 0
9 | 8 | 21 | 21.1 | 0.01 | 0 | 0 |  | 173 | 51.2 | 0
10 | 7.35 | 18.6 | 35.7 | 0.01 | 0.02 | 0 |  | 144.8 | 43.6 | 0
11 | 7.08 | 21.1 | 56.5 | 0.03 | 0.03 | 0 |  | 190.6 | 45.9 | 0
12 | 7.51 | 20.1 | 40.1 | 0.03 | 0.03 | 0 |  | 169.5 | 46.3 | 0
13 | 7.46 | 21.2 | 55.4 | 0 | 0.04 | 0 |  | 142.7 | 22.3 | 0
14 | 7.84 | 20.2 | 13.8 | 0.08 | 0.06 | 0 |  | 157.9 | 45 | 0
15 | 7.94 | 20.2 | 26.1 | 0 | 0 | 0 |  | 175.7 | 26.2 | 0
16 | 8.15 | 20.2 | 24.8 | 0 | 0 | 0 | 1 | 190.9 | 0 | 0
17 | 8.11 | 18.4 | 15.3 | 0 | 0.01 | 0 |  | 140.6 | 26.5 | 0
18 | 7.82 | 19.2 | 16.9 | 0 | 0.01 | 0 |  | 119.5 | 41.2 | 0
19 | 7.13 | 18.9 | 54.1 | 0.02 | 0.03 | 0 |  | 129 | 45.9 | 0
20 | 6.91 | 17.6 | 56.5 | 0.01 | 0.02 | 0 |  | 124 | 46.2 | 0
21 | 7.63 | 17.6 | 36.9 | 0 | 0.01 | 0 |  | 162 | 29.5 | 0
22 | 6.98 | 17 | 44.8 | 0.09 | 0.04 | 0 | 1 | 133.9 | 59.9 | 0
23 | 7.38 | 17.8 | 94.3 | 0.01 | 0.02 | 0 |  | 122.1 | 46.4 | 0
24 | 7.47 | 17.8 | 63.8 | 0.01 | 0.01 | 0 |  | 123.5 | 63.5 | 0
25 | 6.19 | 18.3 | 71.5 | 0.04 | 0.03 | 0 |  | 111.6 | 46.4 | 0
26 | 7.92 | 17.8 | 57.4 | 0.02 | 0.01 | 0 |  | 132.7 | 18 | 0
27 | 7.67 | 15.2 | 42.4 | 0.01 | 0.02 | 0 |  | 99.8 | 25.2 | 0
28 | 7.37 | 15.9 | 46.1 | 0.05 | 0.03 | 0 | 2.96 | 81.2 | 23.9 | 0
29 | 7.77 | 15 | 32.2 | 0 | 0.02 | 0 |  | 88.9 | 77.4 | 0
30 | 7.79 | 14.9 | 29.3 | 0 | 0.01 | 0 |  | 118.7 | 41.6 | 0
31 | 7.45 | 14.1 | 33.2 | 0 | 0.01 | 0 |  | 104.6 | 41.3 | 0
Total | [7 empty] | 4241.8 | 1332.8 | 0
Average | 7.4771 | 18.9839 | 38.0161 | 0.014839 | 0.017774 | 0 | 1.422 | 140.2065 | 44.3258 | 0
* Please note that the value of the BOD result is in fact <1, in order to maintain the total average it has been entered as a "1".
**16th October the RO permeate value is 0 due to a clean being conducted on the system.
| Chemical Parameters | [6 empty] | Volume Parameters
2019-10-01 | pH | Temp. | COD Total | Ammonia NH3-N | SRP as P | Suspended Solids | BOD | UF Permeate mᵌ | RO Permeate mᵌ | Tankered mᵌ
| pH | °C | mg/l | mg/l | mg/l | mg/l | mg/l
Average Figures | 7.4771 | 18.9839 | 38.0161 | 0.014839 | 0.052903 | 0 |  | 4241.8 | 1332.8 | 0
Operational Limits | 6 - 9pH | <25°C | <100mg/l | <0.50mg/l | <0.2mg/l | <5.0mg/l | <5.0mg/l | 194.4mᵌ