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	Consent no
	NRWWIA169

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru Cyfyngedig


Pentwyn Road 

Nelson


Treharris


Mid Glamorgan


CF46 6LY

	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water 


	FROM: Aled Isaf reservoir 

	

	AT: NATIONAL GRID REFERENCE SH 91473 59818

	

	TO: afon aled

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                     Schedule No. NRWWIA169

	

	This consent is issued on the 27th day of September 2019
This consent takes effect on the 27th day of September 2019
This consent shall cease to have effect on the 31st day of December 2019
Signed: Melissa Broad


	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Aled Isaf Reservoir.
LOCATION OF DISCHARGE

3. The location of the Discharge shall be at NGR SH 91506 59854

4. , marked ‘Discharge Point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The rate of the Discharge shall not exceed 3000 litres per second.
COMPOSITION

6.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
7. The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 

FLOODING

8.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

9.
The Discharge shall only be made between 27th day of September 2019 and the 31st day of December 2019.
ANNEX 1- PLAN No. NRWWIA169
[image: image1.png]do\

Bu

Rhaeadr y Bedd

(Waterfalls)

\[‘ am

Discharge Point




© Crown Copyright and database right 2019. Ordnance Survey licence number 100019741.

