| Permit Number: Facility: | EPR/BJ9703IM Flint Paper Mill | Operator: Form Number: | Kimberly Clarke Ltd Water1: 30/06/2019 |
| --- | --- | --- | --- |

Reporting of emissions to water (other than to sewer) for the period from 01/04/2019 to 30/06/2019

| Emission Point | Substance / Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty/ LOD [4] [5] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| W2 | Flow Rate | 500 litres/ sec | Instantaneous | 461.28 l/s | MCERTS self-monitoring of effluent flow scheme | 08/06/2019 04:08 |  |
| W2 | Maximum Tidal Volume[6] | 2500 m3/day | From 30 mins after high tide for a maximum of 2 hours | 1984 m3/day | MCERTS self-monitoring of effluent flow scheme | 18/06/2019 01:17 |  |
| W2 | Maximum Daily Volume[6] | 5000 m3/day | 24 hours | 2501 m3/day | MCERTS self-monitoring of effluent flow scheme | 03/06/2019 00:32 |  |
| W2 | pH (units) | 5 (min) 9 (max) | Instantaneous | 7.69 8.93 | BS EN 06068-2.50:1995 | 17/06/2019 12:15 30/05/2019 10:02 |  |
| W2 | Temperature | Maximum Temperature 30°C | Instantaneous | 30°C | Standard temperature sensor | 02/06/2019 12:11 |  |
| W2 | Chemical oxygen demand (COD) 7 | No Limit Set | Spot sample | 165mg/l | BS 6068-2.34:1998 | 09/04/2019 15:27 |  |
| W2 | Biochemical oxygen demand (BOD)5 | 35 mg/l | Tidal flow proportional sample | 5.28mg/l | BS EN 1899-1 (1998) | 16/04/2019 23:00 |  |

| Emission Point | Substance / Parameter | Emission Limit Value |  | Reference Period |  | Result [1] | Test Method [2] |  | Sample Date and Times [3] | Uncertainty/ LOD [4] [5] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| W2 | Total suspended solids | 80 mg/l |  | Tidal flow proportional sample |  | 57mg/l | BS EN 872:2005 |  | 05/06/2019 01:50 |  |
| W2 | AOx | No Limit Set |  | Tidal flow proportional sample |  | 77.90ug/l |  |  | 19/06/2019 10:30 |  |
| W2 | Ammonia as N | 4 mg/l |  | Tidal flow proportional sample |  | 4.88mg/l | BS EN ISO 11732 or ISBN 0117516139 |  | 25/05/2019 17:41 |  |
| W2 | Total nitrogen | No Limit Set |  | Tidal flow proportional sample |  | 6.80mg/l | BS EN ISO 11905-1:1998, BS 60608-2.62:1998 |  | 13/06/2019 22:12 |  |
| W2 | Total phosphorus | No Limit Set |  | Tidal flow proportional sample |  | 1.8mg/l | BS EN ISO 15681-1:2004, BS6068-2.86:2006 |  | 13/06/2019 22:12 |  |
| W2 | Metals – Zn, Cu, As, Pb, Ni, Total and dissolved | No Limit Set |  | Tidal flow proportional sample |  | Results in August 2019 | Method in accordance with M18 guidance note |  |  |  |
| W2 | Pentachlorophenol (PCP) and its compounds | 4 μg/l |  | Tidal flow proportional sample |  | 0.200ug/l | BS EN 12673:1999 |  | 19/06/2019 10:30 |  |
| W2 | Priority Hazardous Substances 8 | No Limit Set |  | Tidal flow proportional sample |  | Results in August 2019 | GCMS analysis at UKAS accredited laboratory |  |  |  |
| W2 | Chemical Oxygen Demand (COD) | 4.0 kg/t |  | Annually 9 |  |  | COD: BS ISO 15705 |  |  |  |
| W2 | Total suspended solids (TSS) | 0.4 kg/t |  | Annually 9 |  |  | BS EN 872 |  |  |  |
| W2 | Total nitrogen | 0.15 kg/t |  | Annually 9 |  |  | BS EN 12260 |  |  |  |
| Emission Point | Substance / Parameter |  | Emission Limit Value |  | Reference Period | Result [1] |  | Test Method [2] | Sample Date and Times [3] | Uncertainty/ LOD [4] [5] |
| W2 | Total phosphorus |  | 0.015 kg/t |  | Annually 9 |  |  | BS EN ISO 6878 followed by BS EN ISO 15681- 1 Or BS EN ISO 15681- 2 |  |  |
| W2 | Adsorbable organically bound halogens (AOX) |  | 0.05 kg/t |  | Annually 9 |  |  | AOX = BS EN ISO 9562 |  |  |

1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

5. In the case of results for the Hazardous pollutants screen supply the quoted Limit of Detection (LOD) with the result.

6. In the case of daily flow supply the maximum and mean figure for each month within the 6 month reporting window.

7. If TOC is already monitored as a key process parameter, there is no need to measure COD, however the correlation between the two parameters must established and checked regularly.

8. Hazardous pollutants screen substances are Anthracene, Brominated diphenyl ether, Cadmium, C10-13 Chloroalkanes, Endosulphan, Hexachlorobenzene, Hexachlorobutadiene, Hexachloro-cyclohexane, Mercury and its compounds, Nonylphenol (4-Nonylphenol), Pentachlorobenzene, Polycyclic aromatic Hydrocarbons (PAHs), Tributyltin compounds (Tributyltin-cation)

9. For integrated or multi product mills where the BAT AEL range has been calculated according to a mixing rule based on their share of the discharge, based on information supplied by the Operator, the Operator must notify the Environment Agency if the product/ raw material mix changes by more than 10% in any direction.

Signed …………………………………………………………….                   Date…17/07/2019……………………..

(Authorised to sign as representative of Operator)