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Reporting of emissions to air for the period from 01/04/2019 to 30/06/2019

	Emission 
Point 
	Substance / 
Parameter 
	Emission 
Limit Value 
	Reference Period 
	Result [1] 
	Test 
Method [2] 
	Sample 
Date and Times [3] 
	Uncertainty 
[4] 

	A6 
	Oxides of nitrogen (NO and NO2 expressed as NO2) 
	No Limit Set 
	Half hourly average 
	67.69 mg/m3
	
Monitoring methods used shall be in accordance with Environment Agency ‘Technical Guidance Note M2 Monitoring of stack emissions to air



	04/06/2019 11:20 – 12:21
	+/- 4.09 mg/m3

	A7 

	Oxides of nitrogen (NO and NO2 expressed as NO2)

	No Limit Set 
	Half hourly average 
	14.23 mg/m3
	
	05/06/2019 13:33 -14:33 
	+/- 1.42 mg/m3

	A7 

	Particulate Matter

	
No Limit Set 
	Minimum 4 hour sample 
	
1.03 mg/m3
	
	05/06/2019 11:19 – 16:30 

	+/- 0.4mg/m3

	A15 

	Particulate Matter

	
No Limit Set 
	Minimum 4 hour sample 
	
0.86 mg/m3
	
	04/06/2019 11:05 – 15:48
	+/- 0.1 mg/m3



1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values. 
2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography. 
3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given. 
4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated. 



Signed …………… …[image: ]…………………………………………….                      Date………24.7.2019……………….. 
(Authorised to sign as representative of Operator)
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