| Permit Number: | PAN-005169 |
| --- | --- |
| Applicant name: | Severn Trent Water |
| Site Address: | Elan Valley WTW, Rhayader, Powys, LD6 5HN |
| Discharge Point NGR: | SN 93264 65095 |
| Respond by date: | 14/05/2019 (10 working days) |
| Permitting Officer: | Elliot Burge |

Brief Description of proposal:

The Water Treatment Works abstracts raw water from the Garreg-Ddu Reservoir, lime is added for pH adjustment and then the water is passed through 30 sand filters before being dosed with fluoride. The discharge consists of sand filter backwash, a maximum of 1900m3/day. This site currently is regulated under a historic permit (AW4003304) which was issued in 1971, the numeric limits on this permit are 80mg/l suspended solids, pH between 5-10 and volume of >6000m3/day. Current compliance sampling is undertaken by NRW, this arrangement pre-dates the introduction of Operator Self-Monitoring (2010), no compliance issues have been recorded by NRW.

The purpose of this application is to issue a permit under EPR2016 with OSM conditions relating to sampling and reporting of performance to bring this site in line with other water treatment works across Wales, the historic permit covers additional discharges which no longer occur, therefore a new bespoke permit will be issued and the legacy permit will be revoked. There will be no changes to the numeric limits.

There is no additional environmental risk occurring from this application, it is an improvement as more stringent monitoring and reporting standards will be within the permit. Please see the Non-Technical Summary and the application forms on the DMS here.

Habitats Screening Report – Designations or protected species/habitats:

The risk screening report is on the DMS here.

No assessments will be completed due to the variation being an improvement, meaning no environmental impact will stem from this proposal. This will be recorded within my decision document

Risk Assessment Results (modelling or L1 Risk Assessment):

N/A

Miscellaneous:

There is no MCERTS flow monitor as site, the volume is known as known quantities of water are used to backwash the filters (190m3 a time and a maximum of 10 backwashed per day)

NRM Responses:

Environment Management comments:

As there are no changes to the numeric limits and no additional environmental risk occurring from this application no further comments from me.

Thank you.

Officers name: Julia Lloyd
Date: 03/05/2019

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

Even though the proposal will achieve a betterment it will still be necessary to undertake a Habitat Regulations Assessment under OGN 200 to demonstrate the consideration of the risks to the River Wye SAC.

You do not need to consider transition mires or crayfish features because they do not occur in this part of the catchment, or either of the Shad species.

The HRA would then assist in demonstrating the required conditions for the permit and also demonstrate compliance with WFD requirements (which also relate to the SAC).

Officers name: Ken Perry
Date: 1 May 2019

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | N |
| Environmental Heath | N |

Any Permitting Responses:

Date: