ENERGY SOURCE

REPORTING OF MONITORING DATA

SUMMARY FOR THE YEAR TO 31 DECEMBER 2019
Operator:

Neath Port Talbot County Borough Council
Location:
Materials Recovery & Energy Centre, Crymlyn Burrows, Swansea, SA1 8PZ

Permit Number:
BJ5775IF

	Table S3/E1: Energy Source

	Energy Source
	Annual Energy Consumption
	CO2 released tonnes

	
	Primary energy produced on-site MWh  *
	Primary energy imported MWh  **
	

	Electricity


	NIL
	6161.920
	13778.05

	Gas


	NIL
	NIL
	NIL

	Gas Oil
	NIL
	DIESEL

142.500
	373.35


Notes:

*
Reported energy use shall cover 95% of all energy used by the Installation.  

An operational record of the energy use calculation shall be maintained. The primary energy generated on site represents energy used by the site and energy exported
**
Units of imported electricity should be multiplied by a factor of 2.6 to account for the energy lost in generation and transmission.

CO2 emissions per litre of diesel: 2620 g CO2/litre

CO2 emissions per MWh of electricity generated using dirty coal = 0.86 tonne/MWh
Signed on behalf of the Operator    Roberto Cirillo

Dated                                                 31/1/2020
Form S3/E1








