RELEASE TO AIR REPORTING OF MONITORING DATA
Operator: Neath Port Talbot County Borough Council
Location: Materials Recovery & Energy Centre, Crymlyn Burrows, Swansea, SA1 8PZ Permit No. BJ5775IF
Annual Release form The 1st January to December 31st 2019
	Substance
	Release Point A1 (Ton)
	Release Point A2 (Ton)
	Release Point A3 (Ton)
	Release Point A4 (Ton)
	Release Point  New Stack A5

	Particulate
	0.0
	
	0.30
	0.07
	0.11

	VOC's as Total Organic Carbon (TOC)
	0.0
	
	
	
	

	Hydrogen Chloride
	0.0
	
	
	
	

	Hydrogen Fluoride
	0.0
	
	
	
	

	Oxides of Nitrogen (NO and NO2 expressed as NO2)
	0.0
	
	
	
	

	Nitrous Oxide
	0.0
	
	
	
	

	Ammonia
	0.0
	
	
	0.55
	

	Sulphur Dioxide
	0.0
	
	
	
	

	Carbon Monoxide
	0.0
	
	
	
	

	Cadmium & Thallium and their compounds (total)
	0.0
	
	
	
	

	Mercury and its compounds
	0.0
	
	
	
	

	Antimony (Sb) and its compounds
	0.0
	
	
	
	

	Arsenic (As) and its compounds
	
	
	
	
	

	Lead (Pb) and its compounds
	
	
	
	
	

	Chromium (Cr) and its compounds
	
	
	
	
	

	Cobalt (Co) and its compounds
	
	
	
	
	

	Manganese (Mn) and its compounds
	
	
	
	
	

	Nickel (Ni) and its compounds
	
	
	
	
	

	Vanadium (V) and its compounds
	
	
	
	
	

	PCBs*
	0.0
	
	
	
	

	Dioxin and Furans*
	0.0
	
	
	
	

	PAH**
	0.0
	
	
	
	


* Measurements in mg

** Measurements in g

Notes


Release point A5 is the new dust extraction unit

If any of the information supplied is considered to be confidential, a statement of which information this applies to and the reasons why must be specified
Heavy metals annual emission will be expressed as the sum of the individual metals.
Signed on behalf of the Operator: R. Cirillo 
Dated:   31/1/2020
Form S3/AIR 4
