	CRoW Appendix 4 (140_10_SD02)
CRoW Act 2000: Natural Resources Wales application for permission - Formal Notice 


	[image: image1.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales





	Natural Resources Wales Formal Notice.
Requirements of Section 28I of the Wildlife & Countryside Act 1981 as amended by the Countryside and Rights of Way Act (CRoW) 2000. 

Duty in relation to granting any consent, licence or permit for activities likely to damage Sites of Special Scientific Interest (SSSI).

	Guide to filling in this form for Natural Resources Wales staff:

To be completed by Permitting Officers for any applications for a permission which the Natural Resources Wales has considered under S28G duties to protect and enhance SSSIs. This applies to all proposed permissions within a SSSI, and to operations outside the SSSI boundary which are likely to damage its special features.

Refer to OI 140_10  ‘Applying the Countryside and Rights of Way (CRoW) Act 2000 to applications for permits with potential for impact on Sites of Special Scientific Interest (SSSI)’, including the flowchart in Appendix 2. 

	Pink italic text – drafting notes, to be deleted before completion/consultation.

Blue text – examples, to be replaced with permission-specific information.

Ensure you have completed all sections.

	1. Natural Resources Wales area/region/NPS hub:
	Wales, Cardiff, Ty Cambria

	2. Name of SSSI:
	Several SSSI designations within the relevant risk screening distance, please find the report on the DMS here.

	3. Type of permission:
	Environmental Permit 

	4. Date for Natural Resources Wales permit determination:
	02/07/2019

	5. Predicted 28 day date for response from NRW conservation/ecology (under S28 I(4)):
	N/A – Filed for audit

	6. Natural Resources Wales reference no: 
	PAN-005169

	7. National grid reference:
	SN 93264 65095

	8. Description of proposal: 
	The Water Treatment Works abstracts raw water from the Garreg-Ddu Reservoir, lime is added for pH adjustment and then the water is passed through 30 sand filters before being dosed with fluoride. The discharge consists of sand filter backwash, a maximum of 1900m3/day. This site currently is regulated under a historic permit (AW4003304) which was issued in 1971, the numeric limits on this 
permit are 80mg/l suspended solids, pH between 5-10 and volume of >6000m3/day. Current compliance sampling is undertaken by NRW, this arrangement pre-dates the introduction of Operator Self-Monitoring (2010), no compliance issues have been recorded by NRW.

The purpose of this application is to issue a permit under EPR2016 with OSM conditions relating to sampling and reporting of performance to bring this site in line with other water treatment works across Wales, the historic permit covers additional discharges which no longer occur, therefore a new bespoke permit will be issued and the legacy permit will be revoked. There will be no changes to the numeric limits.

There is no additional environmental risk occurring from this application, it is an improvement as more stringent monitoring and reporting standards will be within the permit. Please see the Non-Technical Summary and the application forms on the DMS here.

	9. Is the proposed activity within (wholly or partially) the SSSI boundary? 
	No – Please refer to the map below
[image: image2.png]Cefn
Lianfadog

Elan Village

3

Cwm yr Esgob

AlLDd






	10. Has there been any pre-application discussion or correspondence with NRW conservation/ecology
	No



	11. What aspect(s) of the proposed permission may damage the features which are of special interest for the SSSI?
The following ‘Operations Requiring Consent’ (or other activities associated with the permission) that may cause damage) are relevant to the proposed permission.
Dumping, spreading or discharging of any materials.
The following SSSI features and mechanisms of impact have been considered to assess the likelihood of damage: 
Please refer to the individual SSSI management plans found on the NRW external website here.


	12. Decision

	i) The proposed permission is not likely to damage any of the flora, fauna or geological or physiological features which are of special interest.
This permit will supersede the historical permit in place at the site (AW4003304), by issuing this permit there will be no change to the nature of or volume of the effluent. The only change will be the introduction of Operator Self-Monitoring conditions and reporting protocols required within the permit. This means the operator will regularly sample the effluent to ensure compliance with the numeric limits, there will be more regular sampling than the current set up of intermittent compliance sampling undertaken by NRW and there will be annual reporting of the results. This will also bring the Water Treatment Works in line with the others across Wales. This is considered an environmental improvement.
Natural Resources Wales is minded to: 
Issue the permission 



	13. Name and job title of Natural Resources Wales officer:
	Elliot Burge
Water Quality Permitting Officer

	14. Date form sent to NRW conservation/ecology
	N/A – Filed for audit

	For Natural Resources Wales use only, once NRW conservation/ecology response received 

	15. NRW conservation/ecology comment on assessment:
	Please delete as appropriate:

i) NRW conservation/ecology advise the operation can go ahead

ii) NRW conservation/ecology advise the operation can go ahead with conditions

iii) NRW conservation/ecology advise against permitting the operation 
Please ensure that the NRW conservation/ecology response is attached to this Formal Notice.

	16. Name and job title of NRW conservation/ecology officer:
	

	17. Date of receipt of NRW conservation/ecology response:
	


