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	Consent no
	NRWWIA180

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru


Pentwyn Road
Nelson

Treharris

Mid Glamorgan

CF46 6LY

	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water


	FROM:  Llyn Anafon, Abergwyngregyn

	

	AT: NATIONAL GRID REFERENCE: SH 69940 69933

	

	TO: Afon Anafon

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                     Schedule No. NRWWIA180

	

	This consent is issued on the 2nd day of February 2020
This consent takes effect on the 1st day of September 2020
This consent shall cease to have effect on the 1st day of September 2030
Signed:
Amy Nethercott


	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Llyn Anafon, Abergwyngregyn
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SH 69940 69933, marked ‘New discharge location via pipe (old scour location) on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total daily volume of the Discharge shall not exceed 52,000 cubic metres.

6. The rate of the Discharge shall not exceed 0.6 cubic metres per second.
COMPOSITION

7.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
8.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. (As in line with Environmental Risk Assessment and Management System dated 01/05/2015 and submitted as part of the application of consent and approved by NRW.)
FLOODING

9.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

10.
The Discharge shall only be made between 1st day of September 2020 and the 1st day of September 2030.
ANNEX 1- PLAN No. NRWWIA180
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