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Notice of variation with introductory note
The Environmental Permitting (England & Wales) Regulations 2016
Miss Natalie Howkins
Package treatment plant and infiltration system serving Nant House
Cappers Hill
Brynteg
Wrexham
LL11 6HJ
Variation application number

PAN-007232
Permit number
EPR/AB3898CD
Package treatment plant and infiltration system serving Nant House 

Permit number EPR/AB3898CD
Introductory note

This introductory note does not form a part of the notice.
The following notice gives notice of the variation and consolidation of an environmental permit.
The variation is to add a sand infiltration system because the original planned system will not physically fit into the space. This will ensure that the infiltration system is now built to British Standards. The applicant will need to ensure that the infiltration system is upgraded to British Standards within 12 months of issue of the permit.
The schedules specify the changes made to the permit.
The status log of a permit sets out the permitting history, including any changes to the permit reference number.  It is not backdated before 6 April 2010. 
	Status log of the permit

	Description
	Date
	Comments

	Application PAN-002410
	Duly made 08/03/2018
	Application for discharge of secondary treated sewage effluent.

	Permit determined 

EPR-AB3898CD 
	29/06/2018
	Original permit issued to Natalie Hawkins

	Application PAN-007232
(variation and consolidation)
	Duly made

06/11/2020
	Application to install a sand infiltration system.

	Variation determined EPR/AB3898CD/V002 
	05/03/2020
	Varied permit issued.


End of introductory note

	Notice of variation


The Environmental Permitting (England and Wales) Regulations 2016
The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates
permit number

EPR/AB3898CD
issued to:

Miss Natalie Howkins (“the operator”)

of

Nant House
Cappers Hill
Brynteg
Wrexham

LL11 6HJ
to operate a regulated facility at
Nant House
Cappers Hill
Brynteg
Wrexham
LL11 6HJ

to the extent set out in the schedules.
The notice shall take effect from 05/03/2020
	Name
	Date

	Melissa Broad
	05/03/2020


Authorised on behalf of Natural Resources Wales
Schedule 1 – conditions to be deleted

None.  

Schedule 2 – conditions to be amended 

The following conditions are amended as a result of the application made by the operator: -
· Table S 1.3 has been amended as follows: -
	Table S1.3 Improvement programme requirements

	Reference
	Requirement
	Date

	Secondary treated sewage effluent via Outlet 1
	Within 1 year from date of permit issue:
· Construct and commission an infiltration system replacing the soakaway that complies to British Standard BS 6297:2007+A1:2008 ‘Code of practice for the design and installation of drainage fields for use in wastewater treatment and;

· The drainage field shall be designed in accordance with British Standard BS 6297:2007+A1:2008 ‘Code of practice for the design and installation of drainage fields for use in wastewater treatment’. (All following references to ‘the British Standard’ are references to this document).

· The minimum floor area of the drainage field shall be calculated using a Vp value equal to 24.5; and
· A minimum of 700mm deep layer of medium of coarse washed sand shall be laid on a geotextile membrane, below the granular fill distribution layer as referred to in section 6.6, figures 4 and 5 of the British Standard.
	(1 year form date of issue of permit variation)
05/03/2021


Schedule 3 – conditions to be added

None.

Schedule 4 – Site plan
Site plan attached.
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