| Permit Number: | PAN-009255 |
| --- | --- |
| Applicant name: | Mr. Andrew Cunnick |
| Site Address: | Pantgwyn, Lllwyn Road, Capel Dewi, Carmarthen, SA32 8AD |
| Discharge Point NGR: | SN 47583 20136 |
| Respond by date: | 20/03/2020 (10 working days) |
| Permitting Officer: | Thomas Dauncey |

Brief Description of proposal:

This application is for a new discharge of secondary treated sewage effluent originating from a single domestic property. The maximum daily discharge volume will be 1 cubic metre per day and the treatment system comprises of a British Standard Package Treatment Plant. This plant has the capability for 10:20:5 mg/l (BOD: Suspended Solids: Ammonia) which surpasses current standards. The discharge is to a small unnamed watercourse that receives constant flow throughout the year.

Habitats Screening Report – Designations or protected species/habitats:

The risk screening report can be found on the DMS here.

The only designation reported is a Drinking Water Protected Area Catchment – Tywi – confluence with Cothi to spring tidal limit. An external consultation with DCWW will be undertaken.

Risk Assessment Results (modelling or L1 Risk Assessment):

The discharge is under 5m3/day therefore no river quality modelling has been conducted.

Miscellaneous:

N/A

NRM Responses:

Environment Management comments:

No concerns

Officers name: Alys Jones
Date: 10/03/2020

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

The treatment plant currently surpasses current standards therefore have no concerns.

Officers name: Stuart Rees 
Date: 10/03/2020

Conservation/Ecology Comments:

N/A

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | Y |
| Environmental Heath | N |

Any Permitting Responses:

Will determine with no objections or concerns.

Date: 19/03/2020