Permit Number: 
EPR/DP3137EG




Operator: 
Margam Green Energy Limited
Facility:

Margam Green Energy Plant


Form Number: Residues 1 
Date : 28/01/2020
Reporting of residue quality for the period from:          

01/12/2019 to 31/12/2019
	
	Residue Composition (TOC, Metals, Dioxins, etc.)

	
	TOC
(<3%)
	Sb mg/kg
	Cd mg/kg
	TI
mg/kg
	Hg
mg/kg
	Pb
mg/kg
	Cr
mg/kg
	Cu
mg/kg
	Mn
mg/kg
	Ni
mg/kg
	As
mg/kg
	Co
mg/kg
	V
mg/kg 
	Zn
Mg/kg
	DIOXIN /FURAN         I-TEQ
ng/kg
	DIOXIN / FURAN
	DIOXIN-LIKE PCBS

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	WHO-TEQ ng/kg
	WHO-TEQ ng/kg

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Humans/ mammals
	Birds
	Fish
	Humans/ mammals
	Birds
	Fish

	Bottom Ash (including boiler ash)
	16.5

	17.2
	0.99
	2936
	<0.3
	406

	108
	822
	6556
	45.4
	52.34
	9.0
	15.4
	1279
	
	
	
	
	
	
	

	APC residues
	7.16
	306
	38.6
	*
	3.70
	7619
	142
	928
	1079
	50.6
	686
	112
	21.7
	17,910
	
	*
	*
	*
	*
	*
	*


Reporting of Ash Solubility for the period from:          

01/12/2019 to 31/12/2019
	Ash solubility (Metals)

	
	Sb mg/kg
	Cd mg/kg
	TI
mg/kg
	Hg
mg/kg
	Pb
mg/kg
	Cr
mg/kg
	Cu
mg/kg
	Mn
mg/kg
	Ni
mg/kg
	As
mg/kg
	Co
mg/kg
	V
mg/kg
	Zn
mg/kg

	Bottom ash (including boiler ash)
	17.2
	0.99
	2936
	<0.3
	406

	108
	822
	6556
	45.4
	52.34
	9.0
	15.4
	1279

	APC residues
	306
	38.6
	*
	3.70
	7619
	142
	928
	1079
	50.6
	686
	112
	21.7
	17,910
	
	
	
	
	
	



* APCr figures not available plant offline 23/12/2019 to the 18/01/2020
Signed ………………John Williams…………………………………

Date……28/01/2020……………

(Authorised to sign as representative of Margam Green Energy Limited) 
