Permit Number: 
EPR/DP3137EG





Operator: 
Margam Green Energy Limited
Facility:

Margam Green Energy Plant



Form Number: Performance 1 
Date : 31/12/2019
Reporting of Performance Parameters for the period from:          01/06/2019 to 31/12/2019
	Parameter
	Total Value
	Units
	Specific Value
	Units

	Electrical energy imported from national grid
	787.55
	MWh
	0.006
	MWh/tonne of waste co-incinerated (dry basis)

	Electrical energy exported to national grid
	137,334.83
	MWh
	1.026
	MWh/tonne of waste co-incinerated (dry basis)

	Electrical energy used at the installation 
	16,153.13
	MWh
	0.121
	MWh/tonne of waste co-incinerated (dry basis)

	Gas oil consumption
	288,620.69
	tonnes
	2.157
	tonnes/tonne of waste co-incinerated (dry basis)

	LPG consumption
	0.00
	m3
	0.000
	m3/tonne of waste co-incinerated (dry basis)

	Mass of Bottom Ash (including boiler ash) produced
	8,120.96
	tonnes
	0.061
	tonnes/tonne of waste co-incinerated (dry basis)

	Mass of APC residues produced
	1,895.23
	tonnes
	0.014
	tonnes/tonne of waste co-incinerated (dry basis)

	Ammonia / Urea consumption[1]
	314.16
	tonnes
	0.002
	tonnes/tonne of waste incinerated (dry basis)

	Activated Carbon consumption
	63.38
	tonnes
	0.000
	tonnes/tonne of waste incinerated (dry basis)

	Lime consumption
	638.43
	tonnes
	0.005
	tonnes/tonne of waste incinerated (dry basis)

	Water consumption
	27,852.00
	m3
	0.208
	m3/tonne of waste incinerated (dry basis)

	Periods of abnormal operation
	0.00
	-
	N/A
	Number of occasions in the reporting period.

	Periods of abnormal operation
	0.00
	-
	N/A
	Total cumulative hours for current calendar year


1. Subject to agreed response to pre-operational condition PO10
Reporting of Annual Production / Treatment for the period from:          01/06/2019 to 31/12/2019
	Parameter

	Value

	Units


	Total Wood Waste Received[1]
	133,355.64
	Tonnes

	Total Wood Waste Co-incinerated
	133,813.64
	Tonnes

	Electrical Energy Generated
	152,700.41
	MWh

	Electrical Energy Exported
	137,334.83
	MWh

	Electrical Energy Used on Installation
	16,153.13
	MWh

	Thermal energy produced e.g. steam
	N/A
	MWh

	Thermal energy exported
	N/A
	MWh

	Thermal energy used on installation
	N/A
	MWh

	Total bottom ash (including boiler ash) produced
	8,120.96
	Tonnes

	Total APC residue produced
	1,895.23
	Tonnes


1. All waste wood delivered to the installation, including waste which is subsequently rejected.
	Operator’s comments :
Commercial operations was achieved on the 20th June 2019.
In the 1st six months of operations the plant has seen an average of 77.49% availability at a load factor of 67.50% load factor against the forecast of 87%. The plant has suffered multiple issues post construction which has all impacted availability. 

No environmental issues have been raised with the plant performance.
For the forth coming 12 months the focus will be on completing the major statutory outage in April 2020, stabilising the plants operation, and minimising down time.



Signed …John Williams……………………………………………….  

Date…10/02/2020…..   

(Authorised to sign as representative of Margam Green Energy Limited) 
