## READ ME
HG & E JONES
The Water Resources (Transitional Provisions) Regulations 2017
APPLICATION FOR NEW GROUNDWATER ABSTRACTION
LICENCE FOR A PREVIOUSLY EXEMPT ABSTRACTION AT NEW HOUSE FARM

## Annual Summary
NEW HOUSE FARM, LUDCHURCH, NARBERTH, PEMBROKESHIRE
GROUNDWATER ABSTRACTION - ANNUAL HISTORIC / PLANNED SUMMARY 'POINT A' 2011 - 2017
Year | Total Historic Abstraction (m3/year) | Maximum Abstraction Rate (m3/hr) | Peak Instantaneous Flow Rate (l/s) | Maximum Abstraction Rate (m3/d) | Abstraction Hrs per day
2011 | 7069.85 | 4.2 | 1.1667 | 45.55 | 10.8452
2012 | 8352.6 | 4.2 | 1.1667 | 54.3 | 12.9286
2013 | 9635.35 | 4.2 | 1.1667 | 63.05 | 15.0119
2014 | 11019.65 | 4.2 | 1.1667 | 72.85 | 17.3452
2015 | 11019.65 | 4.2 | 1.1667 | 72.85 | 17.3452
2016 | 11019.65 | 4.2 | 1.1667 | 72.85 | 17.3452
2017 | 11019.65 | 4.2 | 1.1667 | 72.85 | 17.3452
MAX | 11019.65 | * Pump capacity

## Abstraction Volumes '11-'17
NEW HOUSE FARM, LUDCHURCH, NARBERTH, PEMBROKESHIRE
GROUNDWATER ABSTRACTION - ANNUAL SUMMARY 'POINT A' 2011 - 2017
Milk production (Cattle Drinking and Washdown) | [11 empty] | Domestic |  |  |  |  | Fodder Beet Washing |  |  |  |  | Agricultural Vehicle Washdown
Year | Number of Adults | Number of Followers | Typical Drinking Requirement - Adults (l/day/animal) | Daily Water Usage for Drinking - Adults (m3/day) | Typical drinking water requirement - Followers (l/day/animal) | Daily Water Usage for Drinking - Followers (m3/day) | Typical Water Requirement - Cleaning with Power hose (l/day/animal) | Daily Water Usage for Washdown (m3/day) | Annual Abstraction for Parlour Washdown (m3/yr) | Annual Abstraction for Cattle Drinking (m3/yr) | Total Annual Abstraction for Milk Production (m3/yr) | Number of people present all year | Water Usage (l/day/pp) | Water Usage (m3/day/pp) | Water Usage (m3/day) | Annual Abstraction for Domestic Use (m3/year) | Quantity (tonne) | Water Usage (l/hr) | Washing hours (20 tonnes/hr) | Max Washing (m3/d) | Annual Abstraction for Fodder Beet (m3/year) | Number of vehicles/machinery | Time to wash 1 vehicle (mins) | Flow rate - Pressure Washer (litres/min) | Flow rate - Pressure Washer (m3/hr) | Max Vehicles per day | Max Water Usage (m3/d) | Water Usage (m3/week) | Annual Abstraction for Machinery Washdown (m3/year) | Total Annual Abstraction - all uses (m3/year)
2011-01-01 | 125 | 125 | 70 | 8.75 | 25 | 3.125 | 45 | 5.625 | 2053.125 | 4334.375 | 6387.5 | 6 | 150 | 0.15 | 0.9 | 328.5 | 125 | 4200 | 6.25 | 26.25 | 26.25 | 7 | 60 | 15 | 0.9 | 1 | 0.9 | 6.3 | 327.6 | 7069.85
2012-01-01 | 150 | 150 | 70 | 10.5 | 25 | 3.75 | 45 | 6.75 | 2463.75 | 5201.25 | 7665 | 6 | 150 | 0.15 | 0.9 | 328.5 | 150 | 4200 | 7.5 | 31.5 | 31.5 | 7 | 60 | 15 | 0.9 | 1 | 0.9 | 6.3 | 327.6 | 8352.6
2013-01-01 | 175 | 175 | 70 | 12.25 | 25 | 4.375 | 45 | 7.875 | 2874.375 | 6068.125 | 8942.5 | 6 | 150 | 0.15 | 0.9 | 328.5 | 175 | 4200 | 8.75 | 36.75 | 36.75 | 7 | 60 | 15 | 0.9 | 1 | 0.9 | 6.3 | 327.6 | 9635.35
2014-01-01 | 200 | 200 | 70 | 14 | 25 | 5 | 45 | 9 | 3285 | 6935 | 10220 | 7 | 150 | 0.15 | 1.05 | 383.25 | 200 | 4200 | 10 | 42 | 42 | 8 | 60 | 15 | 0.9 | 2 | 1.8 | 7.2 | 374.4 | 11019.65
2015-01-01 | 200 | 200 | 70 | 14 | 25 | 5 | 45 | 9 | 3285 | 6935 | 10220 | 7 | 150 | 0.15 | 1.05 | 383.25 | 200 | 4200 | 10 | 42 | 42 | 8 | 60 | 15 | 0.9 | 2 | 1.8 | 7.2 | 374.4 | 11019.65
2016-01-01 | 200 | 200 | 70 | 14 | 25 | 5 | 45 | 9 | 3285 | 6935 | 10220 | 7 | 150 | 0.15 | 1.05 | 383.25 | 200 | 4200 | 10 | 42 | 42 | 8 | 60 | 15 | 0.9 | 2 | 1.8 | 7.2 | 374.4 | 11019.65
2017-01-01 | 200 | 200 | 70 | 14 | 25 | 5 | 45 | 9 | 3285 | 6935 | 10220 | 7 | 150 | 0.15 | 1.05 | 383.25 | 200 | 4200 | 10 | 42 | 42 | 8 | 60 | 15 | 0.9 | 2 | 1.8 | 7.2 | 374.4 | 11019.65
|  |  | *Standard usage figures from ‘R&D Best Practice Manual W6-056/TR for industry and agriculture’ | [9 empty] | *from British Water - Codes of Practice: Flows and Loads |  |  |  |  | *From equipment spec / borehole pump rate | [5 empty] | *From equipment spec
|  | Dairy Cows drinking | 45-70l/d/head
|  | Calves/ followers drinking | 15-25l/d/head