| Permit Number: | PAN-005369 |
| --- | --- |
| Applicant name: | Mr Clive Watkins |
| Site Address: | Capel-Y-Ffin, Abergavenny, Monmouthshire NP7 7NP |
| Discharge Point NGR: | SO 25477 31019 |
| Respond by date: | 9th July 2019 (10 working days) |
| Permitting Officer: | Katrin Raynor-Evans |

Brief Description of proposal:

A new application to dispose of 0.544m3/day, twice a year. This equates to 1.1 m3/annum, of diluted sheep dip. The applicant is using a dung spreader to dispose of the dip. There is 5.3 hectares of land available but only 0.22 hectares is needed.

Part of the disposal site available is slightly within the boundary of the Black Mountains SSSI and close to a surface water receptor. With this in mind, I will ask the applicant to restrict the spreading away from the SSSI boundary and away from the surface water receptor.

Habitats Screening Report – Designations or protected species/habitats:

Black Mountains SSSI is on the boundary of one of the fields available for spreading.

Risk Assessment Results (modelling or L1 Risk Assessment):

The L1 assessment has produced a score of 69 due to the proximity of the surface water. If the applicant can restrict the disposal to part of a field which is further away from the receptor then the scoring reduces to 54.

Miscellaneous:

A permit was in place for this site (GWSE874) but was surrendered in 2005. The applicant was using injections to treat the sheep but now wishes to dip again.

NRM Responses:

Environment Management comments:

Officers name:
Date:

Biodiversity comments:

Officers name:
Date:

Conservation/Ecology Comments:

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Geoscience Response:

I have amended the level 1 assessment to include minor (secondary A) status of the aquifer and inserted the distance to groundwater and surface water receptors.

At the moment distance to surface water receptor is the sensitivity. If the applicant can move the discharge a sufficient distance away from the small surface water course that borders the marked field (100-200m) but also maintain the discharge a sufficient distance away from the private abstraction identified on MyMap (NGR SO24963120), the discharge would likely be acceptable.

Please get back to me if the applicant cannot move the discharge as I will need to look again. Thanks.

Officers name: Haf Peskett
Date: 8th July

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | No |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | No |
| Environmental Heath | No |

Any Permitting Responses:

Date: