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	Consent no
	NRWWIA186

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dwr Cymru 

Pentwyn Road Nelson

Treharris

Mid Glamorgan

CF46 6LY

	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water 


	FROM: Craig Y Pistyll Reservoir, Ceredigion


	

	AT: NATIONAL GRID REFERENCE SN 71762 85629

	

	TO: Afon Leri

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                     Schedule No. NRWWIA186

	

	This consent is issued on the 25th day of March 2020
This consent takes effect on the 25th day of March 2020
This consent shall cease to have effect on the 14th day of July 2020
Signed: [image: image1.png]


Amy Nethercott – Permit Delivery Team Leader 25/03/2020.


	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)

NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Craig Y Pistyll Reservoir, Ceredigion.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at SN 71762 85629, marked ‘Scour discharge location’ on the site plan in Annex 1.
SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total daily volume of the Discharge shall not exceed 30,000 m3.

6. The rate of the Discharge shall not exceed 1 m3/s.
COMPOSITION

7.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
8.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. (as in line with Environmental Risk Assessment for Scour Discharge (20200302_ERA for s166 Discharge Consent at Craig y Pistyll.pdf) and submitted as part of the application of consent and approved by NRW).
FLOODING

9.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

10.
The Discharge shall only be made between 25th day of March 2020 and the 14th day of July 2020.
ANNEX 1- PLAN No. NRWWIA186
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