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Operational Notification
		WOF 020
This form covers all DCWW operations environmental pollution and MCerts Flow meter issues.
The Originator must mark either box A or B and then Email the form as detailed below for onward transmission to the EA / NRW.

	[bookmark: bmUnplanned][bookmark: bmPlanned]Unplanned Event 
	
	Planned Event
	X

	

	To the Smart Hub Risk team at Linea for onward transmission to EA / Natural Resources Wales

	E-mail:
	smarthub@dwrcymru.com
	Telephone: 
	0303 313 0103

	
	
	
	

	To Be Completed By DCWW:

	[bookmark: bmRequestor][bookmark: bmRequestor_Role]Name: 
	John Benson
	Job Role: 
	Ops supervisor

	[bookmark: bmDate2][bookmark: bmTime2]Date: 
	27/04/2020
	Time: 
	10:33

	[bookmark: bmRequestor_Phone]Office: 
	
	Phone: 
	

	[bookmark: bmRequestor_Email]Fax: 
	
	E mail: 
	

	Details Of Notification:

	[bookmark: bmAsset_Type][bookmark: bmConsent_No]Asset Type (WwTW, Pstn, CSO, EO, service reservoir, trunk sewer, WTW, storm treatment etc)
	SWK
	Permit No: 
	

	[bookmark: bmAddress][bookmark: bmGrid_Ref]Location: 
	Christchurch - Near the Greyhouse public house 
Christchurch 
Caerleon 
NP18 1JJ
	Grid Ref: 
	ST3471489325

	[bookmark: bmWatercourse]
	
	Watercourse: 
	

	[bookmark: bmDate][bookmark: bmExpected_End]Date of Occurrence: 
	27/04/2020 10:33:33
	Expected Duration: 
	TBC

	

	[bookmark: bmMcert][bookmark: bmPhoto_Evidence]M Cert Related: 
	Y/N
	Photographic Evidence
	Y/N

	[bookmark: bmBrief_Outline]Brief Outline: 
	Maintenance is being carried out on the filter bed

	[bookmark: bmRemedial_Action]Remedial Action: 
	Tankers are on site to mitigate flows

	[bookmark: bmActions]Actions Taken to Reduce Future Risks: 
	Operational staff are on site monitoring

	[bookmark: bmEnvironmental_Impact]Environmental Impact: 
	No environmental impact

	[bookmark: bmUpdates]Updates: 
	Further updates to follow

	Environment Officer comments 
	Upon request John Benson confirmed that work was planned, and no flows will leave the site. 

	[bookmark: _GoBack]

	[bookmark: bmRef][bookmark: bmMsg_No][bookmark: bmStatus]DCWW Ref:
	315468021
	Message No:
	
	Update / Final:
	Initial

	[bookmark: bmAnalyst_Name][bookmark: bmDate3][bookmark: bmTime]Smart Hub Analyst:
	Lisa Thorpe
	Date:
	27/04/2020
	Time:
	10:45



Issue 06, 21st January 2015	Page 1 of 1
	This is a CONTROLLED document
image1.png




image10.png




