This form covers all DCWW operations environmental pollution and MCerts Flow meter issues.

The Originator must mark either box A or B and then Email the form as detailed below for onward transmission to the EA / NRW.

| Unplanned Event |  |  |  |  | Planned Event |  |  |  |  |  |  |  | X |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| To the Smart Hub Risk team at Linea for onward transmission to EA / Natural Resources Wales |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E-mail: | smarthub@dwrcymru.com |  |  |  |  | Telephone: |  |  |  | 0303 313 0103 |  |  |  |
| To Be Completed By DCWW: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  | John Benson |  |  |  | Job Role: |  |  |  | Ops supervisor |  |  |  |
| Date: |  | 27/04/2020 |  |  |  | Time: |  |  |  | 10:33 |  |  |  |
| Office: |  |  |  |  |  | Phone: |  |  |  |  |  |  |  |
| Fax: |  |  |  |  |  | E mail: |  |  |  |  |  |  |  |
| Details Of Notification: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Asset Type (WwTW, Pstn, CSO, EO, service reservoir, trunk sewer, WTW, storm treatment etc) |  | SWK |  |  |  |  | Permit No: |  |  |  |  |  |  |
| Location: |  | Christchurch - Near the Greyhouse public house Christchurch Caerleon NP18 1JJ |  |  |  |  | Grid Ref: |  |  |  | ST3471489325 |  |  |
|  |  |  |  |  |  |  | Watercourse: |  |  |  |  |  |  |
| Date of Occurrence: |  | 27/04/2020 10:33:33 |  |  |  |  | Expected Duration: |  |  |  | TBC |  |  |
| M Cert Related: |  | Y/N |  |  |  |  | Photographic Evidence |  |  |  | Y/N |  |  |
| Brief Outline: |  | Maintenance is being carried out on the filter bed |  |  |  |  |  |  |  |  |  |  |  |
| Remedial Action: |  | Tankers are on site to mitigate flows |  |  |  |  |  |  |  |  |  |  |  |
| Actions Taken to Reduce Future Risks: |  | Operational staff are on site monitoring |  |  |  |  |  |  |  |  |  |  |  |
| Environmental Impact: |  | No environmental impact |  |  |  |  |  |  |  |  |  |  |  |
| Updates: |  | Further updates to follow |  |  |  |  |  |  |  |  |  |  |  |
| Environment Officer comments |  | Upon request John Benson confirmed that work was planned, and no flows will leave the site. |  |  |  |  |  |  |  |  |  |  |  |
| DCWW Ref: |  | 315468021 |  | Message No: |  |  |  |  | Update / Final: |  |  | Initial |  |
| Smart Hub Analyst: |  | Lisa Thorpe |  | Date: |  |  |  | 27/04/2020 | Time: |  |  | 10:45 |  |