# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Whitehouse Farm operated by Mr Hugh Harris.

The application number is PAN-008447

The permit number is [insert permit reference]

A new discharge to dispose of 1m3/day of diluted waste sheep dip via a vacuum tanker. The discharge is to be spread on an appropriately sized area of land, 30m away from the White House Meadows Site of Nature Conservation Interest and the disposal will only take place between 1st September and the 1st March.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation responses

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  |
| ### Responses to consultation, web publicising | The web publicising and consultation responses (Annex 2) were taken into account in the decision. There were no responses to the web publicising. The decision was taken in accordance with our guidance. |  |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the CRoW Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the [site(s)/species/habitat] [delete as appropriate] has been carried out as part of the permitting process. We consider that the application will not affect the [features of the site/species/habitat] [delete as appropriate] OR A full assessment of the application and its potential to affect the [site(s)/species/habitat] [delete as appropriate]has been carried out as part of the permitting process. We consider that the application will affect the [features of the site/species/habitat]. [Operational controls/emission limits] have been placed on the permit to mitigate against these effects. [delete as appropriate] [list any operational controls/ emission limits] Formal consultation has been carried out with [ ] (detail consultee(s) as appropriate). The consultation responses (Annex 2) were taken into account in the permitting decision. OR We have not formally consulted on the application. The decision was taken in accordance with our guidance. This will include county ecology consultations for SINC’s, CADW consultations for scheduled ancient monuments etc. but not internal consultations with NRM officers) |  |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment [or similar methodology supplied by the operator and reviewed by ourselves], all emissions may be categorised as environmentally insignificant [with the exception of][set out any priorities for control identified]. |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. |  |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |

# Annex 2: Consultation

Summary of responses to consultation and the way in which we have taken these into account in the determination process.

Response received from

Monmouthshire County Council

Brief summary of issues raised

Due to the proximity of the disposal area to the Site of Nature Conservation Interest, MCC requested that the disposal takes place outside of the growing season for meadow plants and that a minimum 30m buffer is applied between the disposal area and the SINC.

Summary of actions taken or show how this has been covered

The discharge period shall only take place between the 1st September to the 1st March each year and the disposal shall not take place within 30m of the boundary of the SINC.