# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Bridge Cottage operated by Mr Harry Chichester and Mr Charles Chichester.

The application number is PAN-006061.

The permit number is EPR/BB3398ZH

A permit to regulate a new package treatment plant discharging to surface water, which replaces an existing septic tank discharging into groundwater.  The existing system is in unknown condition, the replacement system is an improvement.  The permit is for a maximum of 1 cubic metre per day of secondary treated effluent discharged onto the river bank and flowing down the bank into the River Wye.  The system serves a two-bedroom property.  It does not qualify for an exemption because it is situated within 50 metres of the River Wye designated site.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation response

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  |
| ### Responses to consultation and web publicising | The consultation response (Annex 2) was taken into account in the decision. No responses were received from the web publication. The decision was taken in accordance with our guidance. |  |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the CRoW Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the site has been carried out as part of the permitting process. We consider that the application will not affect the features of the site. We have not formally consulted on the application. The decision was taken in accordance with our guidance. |  |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | Assessment of Likely Significant Effect: The project has been screened for likelihood of significant effects and, taking account of the advice received from protected sites advisors, is considered not likely to have a significant effect on any Natura 2000/Ramsar site (As documented in section 3.2 of OGN 200 form 1, or section 5 if applicable). |  |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment, all emissions may be categorised as environmentally insignificant. The permit authorises an upgrade to the current system, the method of discharge is not considered to posed any additional risk in comparison to the existing system discharge method. |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes according to TGN 7.01. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. |  |
| The permit conditions |  |  |  |
| Considerations of foul sewer | We agree with the operators justification for not connecting to foul sewer. |  |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |

# Annex 2: Consultation response

Response received from

Dŵr Cymru/Welsh Water

Brief summary of issues raised

The outflow of the proposed treated sewage discharge falls within a Dwr Cymru Welsh Water (DCWW) drinking water catchment ‘Wye at Llyswen’ which is designated as a Drinking Water Protected Area under Article 7 of the Water Framework Directive. This Article requires the UK to take action to protect drinking water sources. Section 7.3 states that the aim is ‘to avoid deterioration in water quality where this may lead to additional purification treatment being required’. The discharge is nearly 3 km upstream of DCWW’s abstraction, with an approximate 1 hour travel time to the abstraction. DCWW presumes that all relevant authorities have been consulted to ensure compliance and best practice. DCWW have no further comments to make, but would want to reiterate to the applicant that the facility is within a drinking water catchment and that the permit conditions should be followed during the lifetime of the treatment plant.

Summary of actions taken or show how this has been covered

The applicant has been informed that the location of the discharge is within a drinking water catchment. Conditions within the permit will ensure that the package treatment plant installed is to British Standards .