Ein cyf/Our ref: CAR_NRW0035652 Eich cyf/Your ref: Natural Resources Wales Welsh Assembly Government, Rhodfa Padarn, Llanbadarn Fawr, Aberystwyth, Ceredigion, SY23 3UR Ebost/Email: callum.Stone@cyfoethnaturiolcymru.gov.uk Ffôn/Phone: 03000 653405

Mr & Mrs T J Hill,
Maes Glas Caravan Park,
Penbryn,

Sarnau,
Ceredigion,

SA44 6QE,

06/09/2019

Dear Mr & Mrs Hill,

Environmental Permitting Regulations 2016 Regulation 38 (2) Failure to comply with or to contravene an environmental permit condition.

I am writing to notify you of a failure of a compliance sample taken by Natural Resources Wales on 23rd August 2019 from the sewage works at Maes Glas Caravan Park (Permit Reference: BP0006601). The permit allows for a maximum Ammonia discharge of 15mg/l, wheras the recent sample returned a result of 86.3mg/l which is over 5 times the permitted concentration. I have included a copy of the Compliance Assessment Report with this letter. Given that the result is so high this has been classified as a Category 2 breach as there is the potential for significant environmental impact.

Failure to comply with or to contravene an environmental permit conidition is an offence under Regulation 38(2) of the Environmental Permitting Regulations.

As an operator it is your responsibility to ensure that your works comply to the Environmental Permit in your name. By 7th October 2019 we require you to submit a summary of investigations outlining the cause of the failure, what remedial action will be taken and an outline of the overall condition of the works written by an appropriately qualified engineer.

I would also like to visit your site on 14th September 2019 to further understand the setup of your works. I will also be taking this as an opportunity to assess the impact to the Hoffnant. Any decision regarding an enforcement will be made following this visit.

If you have any queries about the content of this letter or would like to discuss this matter further, please feel free to contact me on the details above.

Kind regards,

CALLUM STONE

Swyddog yr Amgylchedd/Environment Officer (Ceredigion)