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[bookmark: _GoBack]Permit number:   EPR/SP3537VQ	                                   Operator: 		            Biogen (Bryn Pica) Limited 	

Facility:                Bryn Pica Anaerobic Digestion Site 	 Form Number 		Performance1 / 13/05/2015
Reporting of other performance indicators for the year 2019 from 01/01/2019 to 31/12/2019
	Parameter

	Units

	
Power output – Electricity
	
8811.01 MWh 

	
Energy efficiency
	
0.003 MWh/m3 biogas

	
Electrical energy exported to the
grid
	
8121.2 MWh (Electricity Meter) 

	Electrical energy drawn from the
grid 
	
171.0 MWh 

	
Water usage
	
464 m3


	Operational time of emergency
flare
	
2.41% of operational time

	Amount of biogas combusted in the
CHP unit per day
	
8014.47 m3/day

	Operator’s comments:
	
*The figures provided refer to imported electricity. Parasitic energy ie energy produced and consumed by site in 2019 was
 212.3 MWh
		



Signed ………………[image: ]……………………………………. Date………28 – 01- 2020…………
(Authorised to sign as representative of Operator)
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