Permit number:   EPR/SP3537VQ	                                   Operator: 		            Biogen (Bryn Pica) Limited

Facility:                Bryn Pica Anaerobic Digestion Site 	 Form Number 		Performance1 / 13/05/2015

Reporting of other performance indicators for the year 2019 from 01/01/2019 to 31/12/2019

| Parameter | Units |
| --- | --- |
| Power output – Electricity | 8811.01 MWh |
| Energy efficiency | 0.003 MWh/m3 biogas |
| Electrical energy exported to the grid | 8121.2 MWh (Electricity Meter) |
| Electrical energy drawn from the grid | 171.0 MWh |
| Water usage | 464 m3 |
| Operational time of emergency flare | 2.41% of operational time |
| Amount of biogas combusted in the CHP unit per day | 8014.47 m3/day |
| Operator’s comments: *The figures provided refer to imported electricity. Parasitic energy ie energy produced and consumed by site in 2019 was 212.3 MWh |  |

Signed ……………………………………………………. Date………28 – 01- 2020…………

(Authorised to sign as representative of Operator)