Permit Number: 	EPR/AB3092ZE			Operator: Bryn Power Limited

Facility:	AD Facility at Gelliargwellt Farm		Form Number:	Performance1 / 14/02/19

# Reporting of other performance indicators and production/treatment for the period 20/01/19 to 20/01/20

| Parameter |  | Value |  | Units |  |
| --- | --- | --- | --- | --- | --- |
| Power output – Electricity |  |  | 6,618.46 | MWh |  |
| Energy efficiency |  |  | 0.002 | MWh/m3 biogas |  |
| Electrical energy exported to the grid |  |  | 3,765.61 | MWh |  |
| Electrical energy drawn from the grid |  |  | 15.24 | MWh |  |
| Water usage |  |  | 1271.36 | m3 |  |
| Operational time of emergency flare |  |  | <1 | % of operational time |  |
| Amount of biogas combusted in the CHP unit per day CHP 1 CHP 2 |  |  | 4,842.42 3,063.85 | m3/day |  |
| Biogas produced by AD facility |  |  | 2886154 | m3 |  |
| Total waste treated |  |  | 21792.68 | tonnes |  |

Operator’s comments: Water meter changed in June as the old was inaccurate. Import/export meter was also changed. An ok year. The plant has ticked along. Heating is still a problem and the compressors on the mixing.

Signed ………………JCP…………………………………………….  		Date……07/02/20……………

(Authorised to sign as representative of Operator)