Permit Number: 	EPR/AB3092ZE			Operator: Bryn Power Limited		

Facility:	AD Facility at Gelliargwellt Farm		Form Number:	Performance1 / 14/02/19

Reporting of other performance indicators and production/treatment for the period 20/01/19 to 20/01/20

	Parameter
	
	Value
	Units 
	

	
	
	
	
	

	Power output – Electricity
	6,618.46
	MWh
	

	Energy efficiency
	0.002
	MWh/m3 biogas
	

	Electrical energy exported to the grid
	3,765.61
	MWh
	

	Electrical energy drawn from the grid 
	15.24
	MWh
	

	Water usage
	1271.36
	m3
	

	Operational time of emergency flare
	<1
	% of operational time
	

	Amount of biogas combusted in the CHP unit per day                CHP 1
                                                                                                     CHP 2
	4,842.42
3,063.85
	m3/day
	

	Biogas produced by AD facility
	2886154
	m3
	

	Total waste treated
	21792.68
	tonnes
	



	Operator’s comments: 

[bookmark: _GoBack]Water meter changed in June as the old was inaccurate. 
Import/export meter was also changed. 

An ok year. The plant has ticked along. Heating is still a problem and the compressors on the mixing. 





Signed ………………JCP…………………………………………….  		Date……07/02/20…………… 	

(Authorised to sign as representative of Operator)

