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	Consent no
	NRWWIA172

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dwr Cymru

Pentwyn Road

Nelson

Treharris

Mid Glamorgan

CF46 6LY
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
De-chlorinated water


	FROM: Nantybwch WTW, Waterworks lane, Tredegar, NP22 4EP

	

	AT: NATIONAL GRID REFERENCE SO 13100 11400

	

	TO: River Sirhowy

	

	SUBJECT TO: the conditions set out in the following schedule:

De-chlorinated water Schedule No. NRWWIA172

	

	This consent is issued on the 23rd day of September 2019
This consent takes effect on the 23rd day of September 2019
This consent shall cease to have effect on the 31st day of October 2019
Signed:
Amy Nethecott

	


CONDITIONS OF CONSENT TO DISCHARGE

DE-CHLORINATED WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of de-chlorinated water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Nantybwch SRV.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SO 13100 11400, marked ‘Discharge point’ on the site plan in Annex 1.
SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 4000 cubic metres.

6. The total daily volume of the Discharge shall not exceed 1237.5 cubic metres.

7. The rate of the Discharge shall not exceed 14.3 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 23rd day of September 2019 and the 31st day of October 2019.
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ANNEX 1- PLAN No. NRWWIA172
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