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	Consent no
	NRWWIA187

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru Welsh Water 


DCWW Denbigh Depot

Unit 4 Spencer Trading Estate


Rhyl Road


Denbigh

LL16 5TQ
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water


	FROM: Ffynnon llugwy reservoir, near capel curig

	

	AT: NATIONAL GRID REFERENCE SH 69246 62365

	

	TO: Afon Llugwy

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                     Schedule No. NRWWIA187

	

	This consent is issued on the 19th day of May 2020
This consent takes effect on the 1st day of August 2020
This consent shall cease to have effect on the 22nd day of January 2021
Signed: Amy Nethercott


	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Ffynnon Llugwy Reservior.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SH 69246 62365, marked ‘Scour discharge point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge is rainfall dependent. Discharge will only occur when the volume of water in the reservoir rises above -1000 mm Top Water Level (TWL).

6. The total daily volume of the Discharge shall not exceed 158.112 cubic metres.
7. The rate of the Discharge shall not exceed 1.83 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water as in line with Environmental Risk Assessment and Management System dated 05/05/2020 and submitted as part of the application of consent and approved by NRW.
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 1st day of August 2020 and the 22nd day of January 2021.
ANNEX 1- PLAN No. NRWWIA187
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