[image: image2.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




	
	Consent no
	NRWWIA193

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dwr Cymru


Pentwyn Road Nelson


Treharris


Mid Glamorgan


CF46 6LY
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water 


	FROM: Lluest Wen reservoir, Maerdy, Rhondda, CF48 2HS

	

	AT: NATIONAL GRID REFERENCE SN 95102 01526

	

	TO: RHONDDA FACH

	

	SUBJECT TO: the conditions set out in the following schedule:

 Raw Water                     Schedule No. NRWWIA193

	

	This consent is issued on the 28th day of May 2020
This consent takes effect on the 28th day of May 2020
This consent shall cease to have effect on the 1st day of November 2020
Signed: Terry Gulliford


	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)

NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Lluest Wen Reservoir
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SN 95102 01526, marked ‘Location Where flow enter watercourse’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total daily volume of the Discharge shall not exceed 12,000 cubic metres.

6. The rate of the Discharge shall not exceed 140 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water.
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 28th day of May 2020 and the 1st day of November 2020.
ANNEX 1- PLAN No. NRWWIA193
[image: image1.png]Location
where flows
enter
watercourse

Casteli Nos,
Roservolr






