Part A

| Permit Number | PP3139GB |
| --- | --- |
| Name of Operator | Enovert (North) Limited |
| Location of Installation | Bangor Road Johnstown Wrexham LL14 6ET |
| Time and date of the detection | 27th May 2020 at 6:10pm |

| (a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or fugitive emission which has caused, is causing or may cause significant pollution (within 24 hours) |  |
| --- | --- |
| Date and Time of the event | 27th May 2020 at around 6:00pm |
| Reference / description of the location of the event | Plume of smoke had alerted staff member that there may be a fire in vicinity of or at Hafod Landfill. He drove to site and saw from New Hall Lane a fire on the working face. Fire engines already at gates and were let in. Other Enovert staff informed and quickly assembled at site. Fire was a surface fire on tipping area on north eastern flank of Cell 4. |
| Description of where any release into the environment took place | Emissions to air (smoke) |
| Substances(s) potentially released | By-products from the combustion of waste |
| Best estimate of the quantity or rate of release of substances | Not applicable |
| Measures taken, or intended to be taken, to stop any emission | North Wales Fire & Rescue Service (NWFRS) quickly set up a command station and began setting up a high volume pump to take water from the North West Lagoons on site to tackle the fire. Ground monitors and fire engines used to contain the fire and begin tackling the blaze. Site staff utilised excavators and pumps on site to recirculate the fire water/leachate onto the affected areas to dig out and douse any hot spots in the waste. NWFRS continued to fight the fire during Thursday and Friday. From Friday night very little water used to spray on area and only remaining hotspots targeted. On Saturday morning NWFRS took the decision was taken to demobilise the pumps and pipes from site and only perform fire watching inspections thereafter. |
| Description of the failure or accident. | Surface fire. |

Part B (to be supplied as soon as practicable)

| Any more accurate information on the matters for notification under Part A. |  |
| --- | --- |
| Measures taken, or intended to be taken, to prevent a recurrence of the incident | Ongoing monitoring including gas quality data, temperature monitoring, and checking of infrastructure integrity. |
| Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission | Air Quality Monitoring established by NRW on Thursday 28th May at 8:00pm, to monitor the effects of the smoke in the locality. All contaminated fire water is either within the containment area or has been bunded within an area overlying virgin clay. |
| The dates of any unauthorised emissions from the installation in the preceding 24 months. | Please see previous Schedule 5 notifications. |

| Name* | Ian Craven |
| --- | --- |
| Post | Area Manager |
| Date | 02/06/20 |

* authorised to sign on behalf of Enovert (North) Ltd