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	Consent no
	NRWWIA196

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dwr Cymru

Pentwyn Road

Nelson

Treharris

Mid Glamorgan

CF46 6LY
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
De-chlorinated potable water


	FROM: Hirwaun Water Treatment Works, Hirwaun Industrial Estate, CF44 9Y

	

	AT: NATIONAL GRID REFERENCE SN 93989 06984

	

	TO: Tributary stream feeding into Neath River

	

	SUBJECT TO: the conditions set out in the following schedule:

De-chlorinated potable water                    Schedule No. NRWWIA196

	

	This consent is issued on the 23th day of June 2020
This consent takes effect on the 29th day of June 2020
This consent shall cease to have effect on the 24th day of July 2020
Signed: Melissa Broad


	


CONDITIONS OF CONSENT TO DISCHARGE

DE-CHLORINATED POTABLE WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of de-chlorinated potable water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from the Clear Water Tank at Hirwaun Water Treatment Works.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SN 93989 06984, marked ‘Discharge/Sample Point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 750 cubic metres.

6. The total daily volume of the Discharge shall not exceed 187.5 cubic metres.

7. The rate of the Discharge shall not exceed 5 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water.
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 29th day of June 2020 and the 24th day of July 2020.
ANNEX 1- PLAN No. NRWWIA196
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