# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Ysguborwen and The Coach House operated by Mrs. Ann Jagoe.

The application number is PAN-009837

The permit number is EPR/BB3790CL

The permit is for a maximum discharge of 2m3/day of domestic sewage effluent from a package treatment plant built to British Standard BS 12566 discharging into a seasonally dry ditch. The system will serves two properties Ysguborwen a 4 bed main house and The Coach House a 3 bed converted barn annex. There will be a 10m perforated pipe allowing the secondary treated effluent to soak away in the drier months.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation and web publicising 
Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| ### Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  |
| ### Responses to consultation and web publicising | The web publicising and consultation responses (Annex 2) were taken into account in the decision. The decision was taken in accordance with our guidance. |  |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the CRoW Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . Formal consultation has been conducted with Ecologist, Monmouthshire County Council. The consultation responses (Annex 2) were taken into account in the permitting decision. |  |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. Comments from the local team stated ‘No significant concerns, although unsure about any cumulative effect of other nearby discharges into a relatively small watercourse (and pond approx. 500m d/s)’. There are no other surface water discharges in the local vicinity. |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. |  |
| The permit conditions |  |  |  |
| Considerations of foul sewer | We agree with the operators justification for not connecting to foul sewer. |  |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |

# Annex 2: Consultation and web publicising

Response received from

Ecologist Monmouthshire CC

Brief summary of issues raised

We would advise against works that would result in any loss or degradation of ancient woodland. However, If you are satisfied that the discharge will be at such an insignificant level that will not impact the habitats via flow or nutrient enrichment, we don’t see any reason to object to the application.

Summary of actions taken or show how this has been covered

The effluent treatment plant meets British Standards and the volume is low consequently the discharge is likely to have an insignificant impact on the Ancient Woodland. In addition conditions within the permit requires the operator to ensure that the effluent treatment plant is maintained to the British Standards.