| Permit Number: | PAN-010573 |
| --- | --- |
| Applicant name: | Casper Homes Ltd |
| Site Address: | Plot 1, Y Clos, Capel Dewi, Caerefyrddin, Sir Gar, SA32 8AD |
| Discharge Point NGR: | SN 247561 220160 |
| Respond by date: | 09/07/2020 (10 working days) |
| Permitting Officer: | Thomas Dauncey |

Brief Description of proposal:

This application is for a new discharge of secondary treated sewage effluent originating from a single domestic property. The property is served by a British Standard Package Treatment Plant with a maximum daily discharge volume of 1.5m3/day.

The discharge is to a small unnamed watercourse that receives constant flow throughout the year.

Habitats Screening Report – Designations or protected species/habitats:

The risk screening report can be found on the DMS here.

The only designation reported is a Drinking Water Protected Area Catchment – Tywi – confluence with Cothi to spring tidal limit. An external consultation with DCWW has been undertaken.

Risk Assessment Results (modelling or L1 Risk Assessment):

The discharge is under 5m3/day therefore no river quality modelling has been conducted.

Miscellaneous:

N/A

NRM Responses:

Environment Management comments:

Officers name: 
Date:

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name: 
Date:

Conservation/Ecology Comments:

N/A

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | Y |
| Environmental Heath | N |

Any Permitting Responses:

Please the email from Joseph Callard (Carmarthenshire Environment Team) saved on DMS as ‘PAN-010573 Internal Consultation Response’. The email reads -

“I’ve taken a look at this application and I am satisfied that it can go ahead, I therefore have no comments to make.”

Therefore I will proceed with the application.

Date: 08/07/2020