Notice of variation and consolidation with introductory note

The Environmental Permitting (England & Wales) Regulations 2016

Celtic Recycling Ltd

Celtic Recycling Ltd

Unit 37

Village Farm Industrial Estate

Pyle

Bridgend

Glamorgan

CF33 6BZ

Variation application number

EPR/UP3998FB/V011

Permit number

EPR/UP3998FB

Celtic Recycling Ltd

Permit number EPR/UP3998FB

Introductory note

This introductory note does not form a part of the notice.

The following notice gives notice of the variation and consolidation of an environmental permit.

This is an operator led variation of a Tier 3 bespoke permit for a hazardous and non-hazardous mixed metal waste treatment facility.

This variation adds the treatment operation of shredding of specified wastes (16 01 09*, 16 02 09*. 16 02 10* 16 02 13, 16 02 14, 16 02 15* and 16 02 16) for the purpose of disposal.

The variation also includes a regulator-initiated variation to include conditions relating to fire risk mitigation.

A previous improvement condition relating to drainage has been removed from the permit as the works have been completed.

The schedules specify the changes made to the permit.

The status log of a permit sets out the permitting history, including any changes to the permit reference number.

| Status log of the permit |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description |  | Date |  | Comments |  |
| Licence issued (EAWML 34089) | 15/02/94 |  | Original waste management licence for a scrap metal sorting and storage facility issued to Celtic Recycling Ltd. |  |
| Modification issued | 27/06/95 |  |  |  |
| Modification issued | 25/09/95 |  |  |  |
| Modification issued | 22/03/96 |  |  |  |
| Modification issued | 25/03/99 |  |  |  |
| Modification issued | 19/03/02 |  | Full deletion of all previous conditions and replacement with a modern permit, for a scrap metal sorting and storage facility. |  |
| Variation issued EPR/UP3998FB/V006 (formerly EAWML 34089) | 19/11/09 |  | Operator led variation to increase annual throughput from 4,999 tonnes to 10,000 tonnes. |  |
| Variation issued EPR/UP3998FB/V007 | 08/10/10 |  | Regulator initiated variation to reduce oil storage on site from 30 tonnes to 10 tonnes, at any one time – in order to reflect the legal capacity limit above which the site would operate as an installation. |  |
| Variation issued EPR/UP3998FB/V008 | 02/11/10 |  | Regulator initiated variation to correct an error (relating to annual throughput) in EPR/UP3998FB/V007. |  |
| Variation issued EPR/UP3998FB/V009 | 06/12/13 |  | Varied and updated & consolidated permit for mixed metal recycling (and associated activity including de-gassing and drainage of waste electronic and electrical equipment) issued |  |
| Variation determined EPR/UP3998FB/V010 | 03/05/17 |  | Varied permit to include cryogenic freezing as a treatment activity issued. |  |
| Application EPR/UP3998FB/V011 | Duly made 02/09/19 |  | Operator initiated application to vary the permit to include new shredding process and add D9 disposal activity. Regulator indicated variation to add conditions relating to fire risk mitigation, and to remove the completed drainage improvement condition. |  |
| Variation determined EPR/UP3998FB | 29/11/19 |  | Varied and updated & consolidated permit issued. |  |

End of introductory note

Notice of variation and consolidation

The Environmental Permitting (England and Wales) Regulations 2016

The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates

Permit number

### EPR/UP3998FB

issued to

Celtic Recycling Ltd (“the operator”)

whose registered office is

### Unit 37

### Village Farm Industrial Estate

### Pyle

### Bridgend

### CF33 6BZ

company registration number 02765374

to operate a regulated facility at

### Celtic Recycling Ltd

### Unit 37

### Village Farm Industrial Estate

### Pyle

### Bridgend

### Glamorgan

### CF33 6BZ

to the extent set out in the schedules.

The notice shall take effect from 29/11/2019

| Name | Date |
| --- | --- |
| Huw Davies | 29/11/2019 |

Authorised on behalf of Natural Resources Wales

Schedule 1

Only conditions 3.6 Fire, Table S1.1 activities, Table S1.2 Operating techniques, Table S1.3 Improvement programme requirements have been varied by the consolidated permit ERP/UP3998FB/V011.

The following conditions were varied as a result of a Natural Resources Wales initiated variation:

- 3.6 Fire (added)

- Table S1.3 Improvement programme requirements (amended)

The following conditions were varied as a result of the application made by the operator:

- Table S1.1 activities (amended)

- Table S1.2 Operating techniques (amended)

Schedule 2 – consolidated permit

Consolidated permit issued as a separate document.