Permit Reference Number: BX8289IW						                   Operator: Princes Ltd

Installation: Princes Soft Drinks - Cardiff							       Form Number: M1

# Reporting of Mass release to sewer for the period from     …1st January 2019……………….to…31st Dec 2019…………

| Emission Point | Substance / Parameter | Annual # Limit Value g | Result [1] |
| --- | --- | --- | --- |
| S1 | Cadmium (and its compounds as Cd | 0.5 | 0.3 |
| S1 | Mercury and its compounds as Hg | 1.5 | 1.02 |

[1] The result given is calculated using a mass balance. See Permit condition 6.1.1

Signed …… …Victoria Gilbert……………………………………………….  		Date……31/01/2020 ……………..

(Authorised to sign as representative of the Operator)

Permit Reference Number: BX8289IW						Operator: Princes Ltd

Installation: Princes Soft Drinks - Cardiff						Form Number: R1

# Reporting of Waste Disposal and Recovery for the year ……2019………………………..................

| Waste Description | Disposal |  | Recovery |  | Trends in Waste Disposal and Recovery |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Route | Tonnes | Tonnes |  | Year | Parameter |  |  |
|  |  |  |  |  |  | Hazardous waste (t | Non hazardous waste (t) / | Total waste (t) |
| 1) Hazardous Waste | Recycled | 2.613 | 2.613 |  | 2009 | 0.83 | 1312.5 | 1313.37 |
|  |  |  |  |  | 2010 | 2.49 | 843.66 | 846.15 |
|  |  |  |  |  | 2011 | 0.074 | 832.81 | 832.88 |
|  |  |  |  |  | 2012 | 28.511 | 1260.3 | 1288.79 |
|  |  |  |  |  | 2013 | 0.631 | 1015.16 | 1015.79 |
| 2) Non-Hazardous Waste | Recycled | 1591.5 | 1591.5 |  | 2014 | 0.418 | 743.72 | 744.14 |
|  |  |  |  |  | 2015 | 0.98 | 306.019 | 306.999 |
|  |  |  |  |  | 2016 | 9.75 | 1281.52 | 1291.266 |
|  |  |  |  |  | 2017 | 3.405 | 347.03 | 350.435 |
|  |  |  |  |  | 2018 | 3.61 | 365.91 | 369.52 |
|  |  |  |  |  | 2019 | 2.613 | 1591.5 | 1594.1 |
| TOTAL WASTE | Recycled | 1594.1 | 1594.1 |

Operator’s comments: During 2019 the new GEA process equipment, SIG fillers, down-stream equipment and palletiser were commissioned while still running previous Process and Tetra fillers this will have increased the waste production. Once Tetra equipment is decommissioned waste is expected to reduce below the previous levels. (Phase 2 of the project will see the introduction of additional new production lines which will increase both production volumes and also waste)

Signed …… Victoria Gilbert………………………………….  		Date…31/01/2020………………..

(Authorised to sign as representative of the Operator)

Permit Reference Number: BX8289IW						       Operator: Princes Ltd

Installation: Princes Soft Drinks - Cardiff						       Form Number: WU1

# Reporting of Water Usage for the year ………2019…………………….

| Water Source | Usage (m3) | Specific Usage (m3/t) |  | Trends in Water Usage |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Year | Parameter |  |  |
|  |  |  |  |  | Named Water source | Total Water usage m3 | Water / finished product (t) |
| Mains water | 175092 | 1.559 |  |  |  |  |  |
|  |  |  |  | 2015 |  | 176707 | 1.354 |
|  |  |  |  | 2016 |  | 145988 | 1.327 |
|  |  |  |  | 2017 |  | 168132 | 1.467 |
|  |  |  |  | 2018 |  | 157533 | 1.299 |
| TOTAL WATER USAGE | 175092 | 1.559 |  | 2019 |  | 175092 | 1.559 |

Operator’s comments: .

Signed ………Victoria Gilbert…………………………………….  		Date…31/01/2020……………………..

(authorised to sign as representative of the Operator)

Permit Reference Number: BX8289IW						Operator: Princes Ltd

Installation: Princes Soft Drinks - Cardiff						Form Number: E1

# Reporting of Energy Usage for the year ………2019…………………….

| Energy Source | Energy Usage |  | CO2 Produced (tonnes) |  | Trends in Energy Usage |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  | Year | Parameter |  |  |
|  |  |  |  |  |  | Primary Energy usage | CO2 produced | CO2 / finished product (t) |
|  |  |  |  |  | 2012 | 15431 | 2718 | 0.039 |
| Electricity * | MWh | 10557.87 | 1752.6 |  | 2013 | 16795 | 2951 | 0.017 |
| Natural Gas | MWh | 2547.8 | 483.79 |  | 2014 | 16885 | 2961 | 0.018 |
|  |  |  |  |  | 2015 | 9758 | 2632 | 0.022 |
|  |  |  |  |  | 2016 | 10221 | 2671 | 0.024 |
|  |  |  |  |  | 2017 | 10254 | 2781 | 0.02468 |
| TOTAL | MWh | 13105.66 | 2236.39 |  | 2018 | 7914 | 2277 | 0.01878 |
|  |  |  |  |  | 2019 | 13106 | 2236 | 0.0199 |

* Conversion factor for delivered electricity to primary energy =delivered electricity to primary multiply by 2.4 (from 2010)

delivered electricity in kWh to kg CO2 multiply by 0.166

Operator’s comments:

Signed …………Victoria Gilbert……………………………………….  		Date………31/01/2020…………..

(Authorised to sign as representative of the Operator)

Permit Reference Number: BX8289IW					                             Operator: Princes Ltd

Installation: Princes Soft Drinks - Cardiff						                 Form Number: PI1

# Reporting of Performance Indicators for the year ……2019……………………….

| Annual Production/m3 |  |
| --- | --- |
| Fruit Juices | 112343 |

Environmental Performance Indicators

| Parameter | Annual Average | Units |  | Trends in Environmental Performance |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Year | Parameter |  |  |
| Specific water use | 1.559 | m3/m3 ratio |  |  | Water use (m3) /tonne of finished product | Waste kg/t of finished product | Energy (MWh/finished product ) |
| Specific waste production | 4.094 | kg/m3 |  |  |  |  |  |
| Specific energy use | 419.97 | MJ/m3 |  | 2016 | 1.33 | 9.2259 | 494.96 |
|  |  |  |  | 2017 | 1.467 | 3.058 | 498.038 |
|  |  |  |  | 2018 | 1.299 | 3.048 | 389.32 |
|  |  |  |  | 2019 | 1.559 | 4.094 | 419.97 |

Operator’s comments:

Signed ………Victoria Gilbert……………………………………….  		Date……31/01/2020……………..

(Authorised to sign as representative of the Operator)

Permit Reference Number BX8289IW                                                                                    Operator: Princes Ltd

Installation: Princes Soft Drinks – Cardiff                                                                              Form Number S1

Reporting Emissions to Sewer for the period ..........1st January 2019....to…….to…31st Dec 2019…………

| Emission Point | Substance/parameter | Emission Limit value(1) | Result |
| --- | --- | --- | --- |
| S1 | COD | None set | 3962.09 |
| S1 | pH | None set | 7.42 |
| S1 | Suspended Solids | None set | 119.55 |
| S1 | Effluent Flow | None set | 38318 |
| S1 | Cadmium and its compounds as Cd | 0.01mg/l | 0.0000161 |
| S1 | Mercury and its compounds as Hg | 0.1µg/l | 0.0000266 |

(1) The emission limit values for mercury and cadmium are expressed as annual averages calculated by mass balance. See permit condition 6.1.1

Signed......Victoria Gilbert........................................................        Date............31/01/2020.......................................................

(Authorised to sign as representative of the Operator)