[image: image2.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales





Notice of variation and consolidation with introductory note
The Environmental Permitting (England & Wales) Regulations 2016
Dŵr Cymru Cyfyngedig
Rosebush Wastewater Treatment Works
Clynderwen
Pembrokeshire
SA66 7QT
Variation application number

PAN-010507
Permit number
BN0267001
Rosebush Wastewater Treatment Works 

Permit number BN0267001
Introductory note

This introductory note does not form a part of the notice.
The following notice gives notice of the variation and consolidation of an environmental permit.
An NRW initiated groundwater review of the existing permit. This variation notice changes the conditions to ensure compliance with the Environmental Permitting (England and Wales) Regulations 2016 (‘the Regulations’). 
The schedules specify the changes made to the permit.
The status log of a permit sets out the permitting history, including any changes to the permit reference number.  It is not backdated before 6 April 2010. 
	Status log of the permit

	Description
	Date
	Comments

	Application PAN-010507
(variation and consolidation)
	Duly made

22/05/2020
	A groundwater review to vary and update the permit to modern conditions

	Variation determined BN0267001 
	29/07/2020
	Varied and consolidated permit issued in modern condition format.


End of introductory note

	Notice of variation and consolidation 


The Environmental Permitting (England and Wales) Regulations 2016
The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates
permit number

BN0267001
issued to:

Dŵr Cymru Cyfyngedig (“the operator”)

whose registered office is
Pentwyn Road
Nelson
Treharris
Mid Glamorgan
CF46 6LY

company registration number 02366777
to operate a regulated facility at
Rosebush Wastewater Treatment Works
Clynderwen
Pembrokeshire
SA66 7QT
to the extent set out in the schedules.
The notice shall take effect from 29/07/2020
	Name
	Date

	Melissa Broad
	29/07/2020


Authorised on behalf of Natural Resources Wales
Schedule 1 
All conditions have been varied by the consolidated permit as a result of a Natural Resources Wales initiated variation.

Schedule 2 – consolidated permit

Consolidated permit issued as a separate document. 
	Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number 

BN0267001
This is the consolidated permit referred to in the variation and consolidation notice for application PAN-010507 authorising, 
Dŵr Cymru Cyfyngedig (“the operator”),

whose registered office is

Pentwyn Road
Nelson

Treharris

Mid Glamorgan

CF46 6LY

company registration number 02366777
to operate a groundwater activity at
Rosebush Wastewater Treatment Works

Clynderwen
Pembrokeshire
SA66 7QT
to the extent authorised by and subject to the conditions of this permit.

	Name
	Date

	Melissa Broad
	29/07/2020


Authorised on behalf of Natural Resources Wales
Conditions

1 Management

1.1 General management

1.1.1 The operator shall manage and operate the activity:
(a) in accordance with a written management system that identifies and minimises risks of pollution so far as is reasonably practicable, including those risks arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and

(b) using sufficient competent persons and resources.

1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of the permit.

2 Operations

2.1 Permitted activities

2.1.1 The only activity authorised by the permit is the activity specified in schedule 1 table S1.1.

2.2 The site 

2.2.1 The groundwater activity shall take place at the discharge point marked on the site plan at schedule 7 to this permit, and as listed in table S3.2.
3 Emissions and monitoring

3.1 Emissions to water or land
3.1.1 The limits given in schedule 3 table S3.1 shall not be exceeded.

(a) For the emission limits in schedule 3 table S3.1 to which this condition applies, no inspection of the discharge made at a time when unusual weather conditions are adversely affecting the operation of the waste water treatment works, shall be taken into account in deciding whether or not the emission limit has been complied with.

(b) On any occasion where unusual weather conditions adversely affect the operation of the waste water treatment works, the operator shall use its best endeavours to mitigate that adverse effect.

(c) For any inspection of the discharge to be considered for the purposes of (a) above, the operator shall notify Natural Resources Wales in writing within 14 days of becoming aware that an emission limit has been exceeded. That notification shall include a full description of the unusual weather conditions and their impact on the operation of the works.

3.2 Emissions of substances not controlled by emission limits

3.2.1 For the activity referenced in schedule 1, table S1.1 the operator shall take appropriate measures as far as is reasonably practicable:

(a) to prevent the input of hazardous substances to groundwater; and

(b) where a non-hazardous pollutant is not controlled by an emission limit, to limit the input of such non-hazardous pollutants to groundwater so as to ensure that inputs do not cause pollution of groundwater. 

3.3 Monitoring 

3.3.1 An Accessible monitoring points shall be provided and maintained to enable the emissions monitoring programme to be carried out at the monitoring points specified in table S3.3 schedule 3 and shown marked on the site plan in schedule 7.
4 Information

4.1 Records

4.1.1 All records required to be made by schedule 3, 4 and 5 to this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

(d) be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made. 

4.1.2 The operator shall maintain convenient access, in either electronic or hard copy, to the records, plan and management system required to be maintained by this permit. 

4.2 Reporting

4.2.1 The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

4.3 Notifications

4.3.1 Natural Resources Wales shall be notified as soon as reasonably practicable following detection, within the site of the regulated facility of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution; and

(b) any breach of a limit specified in schedule 3 table S3.1.

Any other significant adverse environmental effects, which may have been caused by the activity, shall also be notified to Natural Resources Wales as soon as reasonably practicable following detection.

4.3.2 The information provided under condition 4.3.1 shall be supported by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.

4.3.3 Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules:

Where the operator is a registered company:

(a) any change in the operator’s trading name, registered name or registered office address; and

(b) any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

(c) any change in the operator’s name or address; and

(d) any steps taken with a view to the dissolution of the operator.

4.3.4 Where the operator proposes to make a change in the nature of the activity by increasing the concentration of, or the addition of, or allowing the introduction of, a substance to the activity to an extent that the operator considers could have a significant adverse environmental effect on the receiving waters, and the change is not the subject of an application for approval under the EP Regulations or under the terms of this permit:

(a) Natural Resources Wales shall be notified in writing at least 14 days before the increase or addition or allowing the introduction; and

(b) the notification shall contain a description of the proposed change.

4.4 Interpretation

4.4.1 In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

4.4.2 In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “as soon as reasonably practicable”, in which case it may be provided by telephone.

Schedule 1 – Operations 

	Table S1.1 Activities

	Description of activity
	Limits of specified activity

	Groundwater activity: discharge into land of secondary treated sewage effluent via a filter bed and settlement
	Via an infiltration system centred on NGR SN 07329 29171


Schedule 2 – Waste types, raw materials and fuels

Schedule 2 not in use.

Schedule 3 – Emissions and monitoring

	Table S3.1 Point Source emissions to water (other than sewer) and land – emission limits and monitoring requirements

	Effluent and discharge point
	Parameter  
	Limit (including unit)
	Reference Period
	Monitoring method
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	Secondary treated sewage effluent via Discharge Point
	Dry weather flow
	22 m3/day
	Total daily volume
	N/A
	N/A
	N/A
	Maximum

	
	Visible oil or grease
	No significant trace present so far as is reasonably practicable
	Instantaneous (visual examination)
	Visual
examination
	N/A
	N/A
	No significant trace

(Condition 3.1.2 applies)


	Table S3.2 Discharge points

	Effluent Name
	Discharge Point
	Discharge point NGR
	Receiving Environment

	 Secondary treated effluent
	Discharge Point
	SN 07329 29171
	Groundwater via an infiltration system


	Table S3.3 Monitoring points

	Effluent and discharge point
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	Secondary treated effluent via Discharge Point
	Effluent sampling
	SN 07327 29192
	Sample Point


Schedule 4 – Reporting

Schedule 4 not in use.

Schedule 5 – Notification 
These pages outline the information that the operator must provide. 
Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.
If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A
	Permit Number
	BN0267001

	Name of operator
	

	Location of Facility
	Rosebush Wastewater Treatment Works, Clynderwen,  Pembrokeshire, SA66 7QT

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 7 days of detection unless otherwise agreed in writing by Natural Resources Wales

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released/type or nature of sewage released
	

	Best estimate of the quantity or rate of release of substances and/or duration of discharge
	

	Best estimate of the environmental impact of the discharge
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	5 


	(b) Notification requirements for the breach of a limit specified in schedule 3 table S3.1

	To be notified within 7 days of detection unless otherwise agreed in writing by Natural Resources Wales

	Description of where the effect on the environment was detected
	6 

	Description of and best estimate of the scale of environmental impact of the discharge
	7 


Part B – to be submitted as soon as reasonably practicable unless otherwise agreed in writing by Natural Resources Wales

	Any more accurate information on the matters for notification under Part A.
	8 

	Measures taken, or intended to be taken, to prevent a recurrence of the incident/breach/exceedance
	9 

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	10 


	Name*
	11 

	Post
	12 

	Signature
	13 

	Date
	14 


* authorised to sign on behalf of the operator

Schedule 6 – Interpretation 

“accident” means an accident that may result in pollution.

"annually" means once every year.

“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“appropriate measures” for the purposes of the emission of substances not controlled by emission limits condition (condition 3.2.1) do not require the operator to undertake treatment to a level beyond that specified in schedule 1 table S1.1, or to carry out routine monitoring for substances not controlled by emission limits.

“Dry weather flow” (DWF), measured as m3/d, is defined as follows: DWF = PG + IDWF + E, where P = population in the catchment, G = per capita domestic sewage flow, IDWF = dry weather infiltration, and E = trade effluent flow.

 “emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the permitted activities, which are not controlled by an emission limit.

“emissions to land” includes emissions to groundwater.

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil. “Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.

"quarter" means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“significant pollution” means a high level impact incident as indicated by NRW incident classification system.
“unusual weather conditions” includes, but is not limited to:

· low ambient temperatures, or the freezing of mechanical equipment in the works;

· significant snow deposits;

· tidal or fluvial flooding;

· weather conditions causing unforeseen loss of power supply to the sewage treatment that could not be ameliorated by the reasonable provision and operation of standby generation facilities.
“year” means calendar year ending 31 December.

Schedule 7 – Site plan

[image: image1.png]Discharge-Point]

SN07329-291714

Sample-Pointy

5N07327-291929





© Crown Copyright and database right 2020. Ordnance Survey licence number 100019741.

END OF PERMIT

	Variation and consolidation application number  PAN-010507
	Page i
-  -
- i -
- i -i
	233_08_SD69


PAGE  
	Variation and consolidation application number  PAN-010507
	Page 3
-  -
- 3 -
- 3 -3
	



