| Permit Number: | PAN-010869 |
| --- | --- |
| Applicant name: | Mr Mike Peckham |
| Site Address: | Shanahoe (AKA Ty Cariad), Shanahoe, Manorbier, Pembrokeshire, SA70 7SX |
| Discharge Point NGR: | SS 06456 98286 |
| Respond by date: | 20/08/2020 (10 working days) |
| Permitting Officer: | Thomas Dauncey |

Brief Description of proposal:

The discharge is for 1m3/day into land. The property is a 4-bed Bungalow, used as a holiday home, and is served by an existing septic tank and drainage field (1986).

Habitats Screening Report – Designations or protected species/habitats:

There are no designations or protected species/habitats within screening distance, therefore I will be completing any further HRA’s or Appendix 4.

Risk Assessment Results (modelling or L1 Risk Assessment):

The score on the L1 was 184. This high value has several contributing factors.

With little information about the Soakage Medium I have treated this as a worst-case scenario. Other factors that can’t be changed such as the receiving environment (aquifer, presence within an SPZ1) have contributed to a high score.

Miscellaneous:

Connecting to sewer would be difficult due to distance (115m) and likely cost.

NRM Responses:

Environment Team comments:

No adverse comments providing it is constructed in accordance with BS 6297

Officers name: James Slowgrove	
Date: 17.8.2020

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

N/A

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

Given this is an existing discharge in SPZ1 we discount the L1 assessment.  Assuming that the Environment Team are not aware any issues with this particular discharge I’d have no problem with the permit being issued.

I note the drainage field was installed in 1986 and the British Standards first came in during 1983 so likely does comply.  I would if the permit is issued remind the customer that drainage fields do need periodic renewal and given this one is nearly 35 years old it may be due to replacement.

Officers name: Dave Jones
Date: 11/08/2020

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | No |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | Yes - SPZ1 |
| Environmental Heath | No |

Any Permitting Responses:

Date: