[image: image2.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




	
	Consent no
	NRWWIA202

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:

Dwr Cymru

Pentwyn Road

Nelson

Treharris

Mid Glamorgan

CF46 6LY
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
De-chlorinated potable water 


	FROM: Penycrug Reservoir

	

	AT: National Grid Reference SO 03778 30199

	

	TO: Unnamed watercourse (joins the River Usk)

	

	SUBJECT TO: the conditions set out in the following schedule:

De-chlorinated potable water                                       Schedule No. NRWWIA202

	

	This consent is issued on the 13th day of August 2020
This consent takes effect on the 18th day of August 2020
This consent shall cease to have effect on the 1st day of September 2020
Signed: 


	


CONDITIONS OF CONSENT TO DISCHARGE

DE-CHLORINATED POTABLE WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of de-chlorinated potable water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Penycrug Reservoir.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SO 03778 30199, marked ‘Discharge/Sample Point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 1000 cubic metres.

6. The total daily volume of the Discharge shall not exceed 500 cubic metres.

7. The rate of the Discharge shall not exceed 17 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 18th day of August 2020 and the 1st day of September 2020.
ANNEX 1- PLAN No. NRWWIA202
[image: image1.png]Vi Q)

/ls/Slmpln Point
.

o o0 01 omeues

B Natonal Gid





© Crown Copyright and database right 2020. Ordnance Survey licence number 100019741.

