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	Notice of request for more information

	Environmental Permitting (England and Wales) Regulations 2016


Notice requiring further information 
To: 
FCC Waste Services (UK) Limited
Ground Floor West
900 Pavillion Drive
Northampton Business Park
Northampton
NH4 7RG
Application number: EPR/GP3830BG/V008
Natural Resources Wales, in exercise of its powers under paragraph 4 of Part 1 of Schedule 5 of the above Regulations, requires you to provide the information detailed in the attached schedule. The information is required in order to determine your application for a permit variation, received on 1 October 2018. The information requested should be sent to the following address by 22 February 2019.
Copied to Mr Michael Knott of Sirius Environmental Limited
Information should be sent to: 

Permitting Service

Natural Resources Wales
Cambria House
29 Newport Road
Cardiff

CF24 0TP
	Name
	Date

	Paul Williams
	18/01/2019


Authorised on behalf of Natural Resources Wales
Schedule

1,
Please correct and re-submit the Closure plan (WR7350/CP).  The correction needs to be made with respect to the statement in section 2.2.10 with reference to changes from the 2004 PPC permit SRA, and any associated details. 
2,
The calculations within the 'FCC Numerical Analysis of Geosynthetic Liner Integrity Addendum Report version 1, March 2013' conclude that the liner is unlikely to fail under an additional load of soil. However, we query whether the input parameters associated with these calculations are appropriate.
This is based upon information provided in the surface water management plan which indicates the lagoon bunds are to be constructed with impermeable engineered clay. The clay will have a higher density than the soils previously assessed.
We require confirmation as to the total proposed thickness and composition of materials (e.g. bund clay and subsoils) to be placed on the liner to validate / confirm whether the calculations are appropriate in this situation.
3,
In addition to the above, please confirm that as part of the lagoon construction works whether or not the toe of the capped slope is to be excavated/ has been excavated. Please demonstrate that any cutting into slopes will not cause instability and failure of capping or liner.
4,
Please provide details of your review of the leachate monitoring data to demonstrate your justification for proposed changes in leachate sampling and analysis. 
5,
Please confirm the locations of the proposed leachate monitoring points within each phase that are to be used, ensuring that the points listed in table 1 of report WR7350/CP correspond to the points shown on the referenced drawing in section 4.1.1.
6,
Report WR7350/CP section 4.1.4 describes leachate head permit ciompliance throughout 2016 but does not give details of longer term compliance or indeed more recent compliance. Please provide this longer term summary.
7, 
Please provide details of the evidence and justication for concluding that the groundwater quality conditions around the site are stable.
8,
Please supply labelled copies of all appendices referenced in reports referenced WR7350/CP (Closure Plan) and WR7351/03 (Pen-y-bont).

End of Schedule
Canolfan Trwyddedu, Cyfoeth Naturiol Cymru, Tŷ Cambria, 29 Heol Casnewydd, Caerdydd. CF24 0TP

Permitting Service, Natural Resources Wales, Cambria House, 29 Newport Road, Cardiff. CF24 0TP

Gwefan/Website
www.cyfoethnaturiolcymru.gov.uk 

Croesewir gohebiaeth yn y Gymraeg a'r Saesneg

www.naturalresourceswales.gov.uk 

Correspondence welcomed in Welsh and English
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