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	Consent no
	NRWWIA209

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru Cyfyngedig

Pentwyn Road


Treharris


Mid Glamorgan


CF64 6LY
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water

	FROM: Alaw Reservoir, llantrisant, holyhead

	

	AT: NATIONAL GRID REFERENCE SH 37462 85388

	

	TO: afon alaw

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                     Schedule No. NRWWIA209

	

	This consent is issued on the 18th day of September 2020
This consent takes effect on the 21st day of September 2020
This consent shall cease to have effect on the 31st day of December 2020
Signed: Melissa Broad


	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Alaw Reservoir
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SH 37462 85388, marked ‘Discharge Point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME
5. The total daily volume of the Discharge shall not exceed 181440 cubic metres.

6. The rate of the Discharge shall not exceed 2100 litres per second.
COMPOSITION

7.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
8.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water.
FLOODING

9.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

10.
The Discharge shall only be made between 21st day of September 2020 and the 31st day of December 2020.
ANNEX 1- PLAN No. NRWWIA209
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